SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE
PRETORIA NATIONAL BOTANICAL GARDEN
SCHEDULE OF QUANTITIES
	Tendered

	Payment refers to
	Item No.
	Description
	Unit
	Quantity
	Rate
	Amount

	Brought Forward
	

	

	
2.00


2.01

2.01.01


2.01.02


2.01.03


2.01.04

2.01.05

2.01.06


2.01.07

2.02

2.02.01

2.02.02

2.02.03

2.02.04

2.02.05

2.02.06

2.02.07

2.02.08

2.02.09

	
SUPPLY, DELIVER, INSTALLATION, TEST AND COMMISION

Luminaries

2x 58W open channel fluorescent – surface mounted

2x 58W LBR fluorescent – surface mounted

1x 70W HPS-E Bekashine – post top luminaries 

Bekapole K187645 GPR pole – 4.5m MH

Bekapole K1876110 GPR pole – 11m MH

3x 36W LBR Fluorescent – recessed (1200 x 600)

BekaMax – F Floodlight 250W HPS-T

Lamps (Only Osram or Phillips accepted)

36W 26mm Fluorescent Tube

58W 26mm Florescent Tube

250W HPS-T Lamp

26W CFL TC-D Lamp

18W CFL TC-D Lamp

70W HPD-E Lamp

50W / 12V Halogen Lamp

20W / 12V Halogen Pin Base

21W CFL Energy Saver E27 Base

	


	





1


1


1


1

1

1


1



1

1

1

1

1

1

1

1

1
	














































	
















































	Carried Forward
	









	Tendered

	Payment refers to
	Item No.
	Description
	Unit
	Quantity
	Rate
	Amount

	Brought Forward
	

	

	
2.03

2.03.01

2.03.02

2.03.03

2.03.04

2.04


2.04.01

2.04.02

2.04.03


2.04.04


2.04.05


2.04.06


2.04.07

2.04.08


2.04.09


2.05


2.05.01

2.05.02

2.05.03

2.05.04

2.05.05

2.05.06

2.05.07

2.05.08

	
Luminaries Control Gear
 
2x 58W Electronic Ballast (ECG)

2x 36W Electronic Ballast (ECG)

1x 250W HPS Control Gear

1x 18W or 26W CFL (ECG)

Medium Voltage Cabling (SABS Approved)

70mm2 x 3-core 6,35/11kV XLPE Table 19

35mm2 x 3-core 6,35/11kV XLPE Table 19

25mm2 x 3-core XLPE 1,9/3,3Kv PVS/SWA/PVC Interdac or Equal

16mm2 x 3-core XLPE 1,9/3,3Kv PVS/SWA/PVC Interdac or Equal

35-70mm XLPE 11kV Through Joint – Raychem

35-70mm XLPE 11kV Indoor Termination – Raychem

35-70mm PILC Through Joint Raychem

16-25mm XLPE 3,3kv intermediate Cable Through Joint

16-25mm XLPE 3,3kv intermediate Cable Outdoor term

Low Voltage Cabling (SABS & SA Manufactured)

95mm2 x4-core PVC

70mm2 x4-core PVC

35mm2 x4-core PVC

16mm2 x4-core PVC

6mm2 x4-core PVC

6mm2 x3-core PVC

4mm2 x4-core PVC

2,5mm2 x3-core PVC
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	Carried Forward
	

	Tendered

	Payment refers to
	Item No.
	Description
	Unit
	Quantity
	Rate
	Amount

	Brought Forward
	

	

	2.05.09


2.05.10


2.05.11


2.06

2.06.01

2.06.02

2.06.03

2.07


2.07.01

2.07.02

2.07.03

2.07.04

2.07.05

2.07.06

2.07.07

2.07.08

2.08

2.08.01


2.08.02


2.08.03


2.08.04


2.08.05


2.08.06


2.08.07

2.08.08
	Resin cast jointing kits 2,5mm – 6mm PVC cables

Resin cast jointing kits 16mm – 35mm PVC cables

Resin cast jointing kits 50mm – 95mm PVC cables

BCEW (SABS & SA Manufactured)

50mm2

35mm2

16mm2

Wiring Systems (SABS & SA Manufactured)

2,5mm2 GPR wire (PVC insulated)

4mm2 GPR wire (PVC insulated)

6mm2 GPR wire (PVC insulated)

2,5mm2 2+E surfix cable flat

4mm2 3+E surfix cable round

2,5mm2 x 3-core submersible pump cable

4mm2 x 4-core submersible pump cable

2,5mm2 x 3-core cabtyre

Appliances (Only Crabtree or Clipsal)

16A Switched socket outlet c/w cover – flush or surface mounted

15A 1lever 1 way light switch c/w cover – flush or surface mounted

15A 2lever 1 way light switch c/w cover – flush or surface mounted

20A DP geyser isolator c/w cover – flush or indoor use

32A DP isolator for A/C unit, weather-proof & lockable

32A TP isolator, weather-proof & lockable (Waco)

16A Double SSO – flush mounted

16A 230V Photocell for outdoor use (National)
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	Carried Forward
	

	Tendered

	Payment refers to
	Item No.
	Description
	Unit
	Quantity
	Rate
	Amount

	Brought Forward
	

	

	
2.09


2.09.01

2.09.02

2.09.03

2.09.04

2.09.05

2.09.06

2.09.07

2.09.08


2.09.09

2.09.10

2.10


2.10.01


2.10.02


2.10.03


2.10.04

2.10.05



	
Circuit Breakers & Isolators (Group Schneider/ CBI Only)

15A SP 6kA circuit breaker

20A SP 6kA circuit breaker

30A SP 6kA circuit breaker curve 2

60A SP 6kA circuit breaker

60A TP 10kA circuit breaker

100A TP 15kA circuit breaker

80A TP 10kA isolator

63A 30mA DP earth leakage unit – no overload

20A DP 6kA circuit breaker – geyser supply

3P+N 20kA surge arrestors with indication

Wireways & Sleeve Pipes (Bosal / Nextube)

20mmdia. Galvanised conduit c/w all fittings and accessories

32mmdia. Galvanised conduit c/w all fittings and accessories

20mmdia. PVC conduit c/w all fittings and accessories

110mmdia. Ribbed kabelflex sleeve pipe

160mmdia. Ribbed kabelflex sleeve pipe
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	Carried Forward
	














	Tendered

	Payment refers to
	Item No.
	Description
	Unit
	Quantity
	Rate
	Amount

	Brought Forward
	

	

	2.11

2.11.01


2.11.02


2.11.03


2.11.04


3.00

3..01.01

3.01.02

3.01.03


3.02

3.02.01

3.02.02

3.02.03

3.02.04

3.02.05

3.02.06

3.03

3.03.01

	Miscellaneous Works

Franklin 7,5kW 400V submersible pump motor complete

Franklin 400V/3ph control kiosk – up to 11kW pump motor supply

40A TP Contractor 230V coil c/w adjustable overload 12-40A

Replacement of 230V – 3 or 4kW geyser element

Excavations (All by hand only)

Pole hole excavation – 2m deep

Pole hole excavation – 1,2m deep

Testing of Earthing and Lightning Protection

Testing of Borehole

Removal of existing equipment

Installation of temporary pump

Pump testing of Borehole

Ground water sampling

Compilation of borehole report

Reinstallation of pumping equipment

Servicing of Submersible Borehole Pumps

Borehole submersible pump
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	SUBTOTAL
	

	VALUE ADDED TAX (VAT) @ 15%
	

	TOTAL CARRIED TO BID FORM (TOTAL BID PRICE)
	



