SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE

PRETORIA NATIONAL BOTANICAL GARDEN

SCHEDULE OF QUANTITIES

| Tendered |  |  |
| --- | --- | --- |
| Payment refers to | Item No. | Description | Unit | Quantity | Rate | Amount |
| Brought Forward |  |  |  |  |  |  |
|  | 2.00 2.01 2.01.01 2.01.02 2.01.03 2.01.04 2.01.05 2.01.06 2.01.07 2.02 2.02.01 2.02.02 2.02.03 2.02.04 2.02.05 2.02.06 2.02.07 2.02.08 2.02.09 | SUPPLY, DELIVER, INSTALLATION, TEST AND COMMISION Luminaries 2x 58W open channel fluorescent – surface mounted 2x 58W LBR fluorescent – surface mounted 1x 70W HPS-E Bekashine – post top luminaries Bekapole K187645 GPR pole – 4.5m MH Bekapole K1876110 GPR pole – 11m MH 3x 36W LBR Fluorescent – recessed (1200 x 600) BekaMax – F Floodlight 250W HPS-T Lamps (Only Osram or Phillips accepted) 36W 26mm Fluorescent Tube 58W 26mm Florescent Tube 250W HPS-T Lamp 26W CFL TC-D Lamp 18W CFL TC-D Lamp 70W HPD-E Lamp 50W / 12V Halogen Lamp 20W / 12V Halogen Pin Base 21W CFL Energy Saver E27 Base |  | 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 |  |  |
| Carried Forward |  |  |  |  |  |  |

| Tendered |  |  |
| --- | --- | --- |
| Payment refers to | Item No. | Description | Unit | Quantity | Rate | Amount |
| Brought Forward |  |  |  |  |  |  |
|  | 2.03 2.03.01 2.03.02 2.03.03 2.03.04 2.04 2.04.01 2.04.02 2.04.03 2.04.04 2.04.05 2.04.06 2.04.07 2.04.08 2.04.09 2.05 2.05.01 2.05.02 2.05.03 2.05.04 2.05.05 2.05.06 2.05.07 2.05.08 | Luminaries Control Gear 2x 58W Electronic Ballast (ECG) 2x 36W Electronic Ballast (ECG) 1x 250W HPS Control Gear 1x 18W or 26W CFL (ECG) Medium Voltage Cabling (SABS Approved) 70mm2 x 3-core 6,35/11kV XLPE Table 19 35mm2 x 3-core 6,35/11kV XLPE Table 19 25mm2 x 3-core XLPE 1,9/3,3Kv PVS/SWA/PVC Interdac or Equal 16mm2 x 3-core XLPE 1,9/3,3Kv PVS/SWA/PVC Interdac or Equal 35-70mm XLPE 11kV Through Joint – Raychem 35-70mm XLPE 11kV Indoor Termination – Raychem 35-70mm PILC Through Joint Raychem 16-25mm XLPE 3,3kv intermediate Cable Through Joint 16-25mm XLPE 3,3kv intermediate Cable Outdoor term Low Voltage Cabling (SABS & SA Manufactured) 95mm2 x4-core PVC 70mm2 x4-core PVC 35mm2 x4-core PVC 16mm2 x4-core PVC 6mm2 x4-core PVC 6mm2 x3-core PVC 4mm2 x4-core PVC 2,5mm2 x3-core PVC |  | 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 |  |  |
| Carried Forward |  |  |  |  |  |  |
| Tendered |  |  |
| Payment refers to | Item No. | Description | Unit | Quantity | Rate | Amount |
| Brought Forward |  |  |  |  |  |  |
|  | 2.05.09 2.05.10 2.05.11 2.06 2.06.01 2.06.02 2.06.03 2.07 2.07.01 2.07.02 2.07.03 2.07.04 2.07.05 2.07.06 2.07.07 2.07.08 2.08 2.08.01 2.08.02 2.08.03 2.08.04 2.08.05 2.08.06 2.08.07 2.08.08 | Resin cast jointing kits 2,5mm – 6mm PVC cables Resin cast jointing kits 16mm – 35mm PVC cables Resin cast jointing kits 50mm – 95mm PVC cables BCEW (SABS & SA Manufactured) 50mm2 35mm2 16mm2 Wiring Systems (SABS & SA Manufactured) 2,5mm2 GPR wire (PVC insulated) 4mm2 GPR wire (PVC insulated) 6mm2 GPR wire (PVC insulated) 2,5mm2 2+E surfix cable flat 4mm2 3+E surfix cable round 2,5mm2 x 3-core submersible pump cable 4mm2 x 4-core submersible pump cable 2,5mm2 x 3-core cabtyre Appliances (Only Crabtree or Clipsal) 16A Switched socket outlet c/w cover – flush or surface mounted 15A 1lever 1 way light switch c/w cover – flush or surface mounted 15A 2lever 1 way light switch c/w cover – flush or surface mounted 20A DP geyser isolator c/w cover – flush or indoor use 32A DP isolator for A/C unit, weather-proof & lockable 32A TP isolator, weather-proof & lockable (Waco) 16A Double SSO – flush mounted 16A 230V Photocell for outdoor use (National) |  | 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 |  |  |
| Carried Forward |  |  |  |  |  |  |
| Tendered |  |  |
| Payment refers to | Item No. | Description | Unit | Quantity | Rate | Amount |
| Brought Forward |  |  |  |  |  |  |
|  | 2.09 2.09.01 2.09.02 2.09.03 2.09.04 2.09.05 2.09.06 2.09.07 2.09.08 2.09.09 2.09.10 2.10 2.10.01 2.10.02 2.10.03 2.10.04 2.10.05 | Circuit Breakers & Isolators (Group Schneider/ CBI Only) 15A SP 6kA circuit breaker 20A SP 6kA circuit breaker 30A SP 6kA circuit breaker curve 2 60A SP 6kA circuit breaker 60A TP 10kA circuit breaker 100A TP 15kA circuit breaker 80A TP 10kA isolator 63A 30mA DP earth leakage unit – no overload 20A DP 6kA circuit breaker – geyser supply 3P+N 20kA surge arrestors with indication Wireways & Sleeve Pipes (Bosal / Nextube) 20mmdia. Galvanised conduit c/w all fittings and accessories 32mmdia. Galvanised conduit c/w all fittings and accessories 20mmdia. PVC conduit c/w all fittings and accessories 110mmdia. Ribbed kabelflex sleeve pipe 160mmdia. Ribbed kabelflex sleeve pipe |  | 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 |  |  |
| Carried Forward |  |  |  |  |  |  |

| Tendered |  |  |  |
| --- | --- | --- | --- |
| Payment refers to | Item No. | Description | Unit | Quantity | Rate | Amount |  |
| Brought Forward |  |  |  |  |  |  |  |
|  | 2.11 2.11.01 2.11.02 2.11.03 2.11.04 3.00 3..01.01 3.01.02 3.01.03 3.02 3.02.01 3.02.02 3.02.03 3.02.04 3.02.05 3.02.06 3.03 3.03.01 | Miscellaneous Works Franklin 7,5kW 400V submersible pump motor complete Franklin 400V/3ph control kiosk – up to 11kW pump motor supply 40A TP Contractor 230V coil c/w adjustable overload 12-40A Replacement of 230V – 3 or 4kW geyser element Excavations (All by hand only) Pole hole excavation – 2m deep Pole hole excavation – 1,2m deep Testing of Earthing and Lightning Protection Testing of Borehole Removal of existing equipment Installation of temporary pump Pump testing of Borehole Ground water sampling Compilation of borehole report Reinstallation of pumping equipment Servicing of Submersible Borehole Pumps Borehole submersible pump |  | 1 1 1 1 1 1 1 1 1 1 1 1 1 1 |  |  |  |
| SUBTOTAL |  |  |  |  |  |  |  |
| VALUE ADDED TAX (VAT) @ 15% |  |  |  |  |  |  |  |
| TOTAL CARRIED TO BID FORM (TOTAL BID PRICE) |  |  |  |  |  |  |  |