## SANBI-Tender BOQtxt
BILL OF QUANTITIESFORTHE RENOVATIONS TO SELECTED BUILDINGS, INCLUDING FOOD AND BEVERAGES OUTLETSSOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE (SANBI) MARCH 2022
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 1 | H1
BILL NO. 1 | H1
PRELIMINARIES | H1
BUILDING AGREEMENT AND PRELIMINARIES | H2
The JBCC Principal Building Agreement (Edition 6.2 - May 2018) prepared by the Joint Building Contracts Committee shall be the applicable building agreement, amended as hereinafter described
The JBCC Principal Building Agreement contract data form an integral part of this agreement
The JBCC General Preliminaries (May 2018) published by the Joint Building Contracts Committee for use with the JBCC Principal Building Agreement (Edition 6.2 - May 2018) shall be deemed to be incorporated in these bills of quantities, amended as hereinafter described
The contractor is deemed to have referred to the abovementioned documents for the full intent and meaning of each clause
The clauses in the abovementioned documents are hereinafter referred to by clause number and heading only
Where any item is not relevant to this agreement such item is marked N/A signifying "not applicable"
Where standard clauses or alternatives are not entirely applicable to this agreement such amendments, modifications, corrections or supplements as will apply are given under each relevant clause heading and such amendments, modifications, corrections or supplements shall take precedence notwithstanding anything to the contrary contained in the abovementioned documents
PREAMBLES FOR TRADES | H2
The General Preambles for Trades 2017 published by the Association of South African Quantity Surveyors shall be deemed to be incorporated in these bills of quantities and no claims arising from brevity of description of items fully described in the said General Preambles will be entertained
Supplementary preambles and/or specifications are incorporated in these bills of quantities to satisfy the requirements of this project. Such supplementary preambles and/or specifications shall take precedence over the provisions of the General Preambles
The contractor's prices for all items throughout these bills of quantities shall take account of and include where applicable for all of the obligations, requirements and specifications given in the General Preambles and in any supplementary preambles and/or specifications
STRUCTURE OF THIS PRELIMINARIES BILL | H2
Section A : A recital of the headings of the individual clauses in the aforementioned JBCC Principal Building Agreement
Section B : A recital of the headings of the individual clauses in the aforementioned JBCC General Preliminaries
Section C : Any special clauses to meet the particular circumstances of the project
PRICING OF PRELIMINARIES | H2
Should the contractor select Option A in the contract data for the adjustment of preliminaries, the amounts entered against the relevant items in these preliminaries are to be divided into one or more of the three categories provided namely fixed (F), value related (V) and time related (T)
SECTION A: PRINCIPAL BUILDING AGREEMENT | H2
Interpretation (A1-A7) | H3
Clause 1.0 - Definitions and interpretation
Pricing of bills of quantities
The contractor is to allow opposite each item for all costs in connection therewith. All prices to include, unless otherwise stated, for all materials, fabrication, conveyance and delivery, unloading, storing, unpacking, hoisting, labour, setting, fitting and fixing in position, cutting and waste (except where to be measured in accordance with the standard system of measurement), patterns, models and templates, plant, temporary works, returning of packaging, duties, taxes (other than Value Added Tax), imposts, establishment charges, overheads, profit and all other obligations arising out of this agreement. Value Added Tax (VAT) is to be separately stated on the summary page of these bills of quantities
Items left unpriced will be deemed to be covered in prices against other items throughout these bills of quantities and no claim for any extras arising out of the contractor's omission to price any item will be entertained
Prices for all construction equipment, temporary works, services and other items shall include for the supply, maintenance, operating cost and subsequent removal and making good as necessary
Abbreviated descriptions
The items in these bills of quantities utilise abbreviated descriptions. It is the intention that the abbreviated descriptions be fully described when read with the applicable measuring system and the relevant preambles and/or specifications. However, should the full intent and meaning of any description not be clear, the contractor shall, before submission of his tender, call for a written directive from the principal agent, failing which it shall be assumed that the contractor has allowed in his pricing for materials and workmanship in terms of international best practice
Legal status of contractor
If the contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons then:
1. These persons are deemed to be jointly and severally liable to the employer for the performance of this agreement
2. These persons shall notify the employer of their leader who has assigned authority to bind the contractor and each of these persons
3. The contractor shall not alter its composition or legal status without the prior written consent of the employer
F:............................. V:............................ T:............................ | Item | 0.00
Clause 2.0 - Law, regulations and notices
I NHBRC leviesThe employer shall allow for and pay any levies required by the National Home Builders Registration Council (NHBRC). The contractor warrants that he is registered and will maintain registration with the NHBRC for the duration of this agreement [2.1] N/A
F:............................. V:............................ T:............................ | Item | 0.00
Clause 3.0 - Offer and acceptance F:............................. V:............................ T:............................ | Item | 0.00
Clause 4.0 - Cession and assignment F:............................. V:............................ T:............................ | Item | 0.00
Clause 5.0 - Documents
Value Added Tax
Provision is made in the summary page of these bills of quantities for the inclusion of Value Added Tax (VAT)
Priced document as specification Clause 5.4 is deemed to be deleted
The principal agent shall decide which portion of the priced document may be used as a specification of materials and goods or methods, if any.
Electronic issue of drawingsAll drawings for this project will be issued electronically and the contractor shall be deemed to have received such drawings on the date that such drawings have been dispatched electronically [5.6] YES
F:............................. V:............................ T:............................ | Item | 0.00
Clause 6.0 - Employer's agents
Delegated authority - EBESA ArchitectsPhysical Address: 34 Sixth StreetParkhurst2193Tel: (011) 327 6097Email: dominique@ebesa.co.za
The authority of the principal agent to issue contract instructions [17.1] and perform duties for specific aspects of the works is delegated to agents as follows [6.2]. This does not preclude the principal agent from issuing such contract instructions: Yes
1. ArchitectEBESA ArchitectsPhysical Address: 34 Sixth StreetParkhurst2193Tel: (011) 327 6097Email: dominique@ebesa.co.za
1.1 Duties [6.2] : The architect is responsible for the architectural design, functional design and quality inspection of the works
1.2 Contract instructions [6.2; 17.1] :
1.2.1 Rectification of discrepancies, errors in description or quantity or omission of items in the agreement other than in the JBCC Principal Building Agreement
1.2.2 Alteration to design, standards or quantity of the works provided that such contract instructions shall not substantially change the scope of the works
1.2.3 The site [13.0]
1.2.4 Compliance with the law, regulations and bylaws [2.1]
1.2.5 Provision and testing of samples of materials and goods and/or of finishes and assemblies of elements of the works
1.2.6 Opening up of work for inspection, removal or re-execution [23.2.4; 26.4.2]
1.2.7 Removal or re-execution of work
1.2.8 Removal or substitution of any materials and goods
1.2.9 Protection of the works
1.2.10 Making good physical loss and repairing damage to the works [23.2.2]
1.2.11 Rectification of defects [21.2]
1.2.12 A list for practical completion specifying outstanding or defective work to be rectified to achieve practical completion, a list for completion and a list for final completion specifying outstanding or defective work to be rectified to achieve final completion
2. Quantity surveyor IDNIL Professional Consultants Physical address: 16 Baker Street Rosebank 2196 Tel: (011)783 5454 Email: thembile@idnil.co.za
2.1 Duties [6.2] : The quantity surveyor is responsible for all measurements, valuations, financial assessments and all other quantity surveying and cost control functions of the works
2.2 Contract instructions [6.2; 17.1] :
2.2.1 No contract instructions delegated to the quantity surveyor
3. Civil and Structural Engineer Endecon Ubuntu Engineering Consultants Physical adress: 257 Jean Avenue, Block 6 Central Office Park Centurion 0046 Tel: (012) 664 6770 Email: derick@endeconubuntu.co.za
3.1 Duties [6.2] : The civil and structural engineer is responsible for all aspects of civil and structural engineering design and quality inspection of the works
3.2 Contract instructions [6.2; 17.1] :
3.2.1 Rectification of discrepancies, errors in description or quantity or omission of items in the agreement other than in the JBCC Principal Building Agreement
3.2.2 Alteration to design, standards or quantity of the works provided that such contract instructions shall not substantially change the scope of the works
3.2.3 The site [13.0]
3.2.4 Compliance with the law, regulations and bylaws [2.1]
3.2.5 Provision and testing of samples of materials and goods and/or of finishes and assemblies of elements of the works
3.2.6 Opening up of work for inspection, removal or re-execution [23.2.4; 26.4.2]
3.2.7 Removal or re-execution of work
3.2.8 Removal or substitution of any materials and goods
3.2.9 Protection of the works
3.2.10 Making good physical loss and repairing damage to the works [23.2.2]
3.2.11 Rectification of defects [21.2]
3.2.12 A list for practical completion specifying outstanding or defective work to be rectified to achieve practical completion, a list for completion and a list for final completion specifying outstanding or defective work to be rectified to achieve final completion
F:............................. V:............................ T:............................ | Item | 0.00
Clause 7.0 - Design responsibility F:............................. V:............................ T:............................ | Item | 0.00
Insurances and securities (A8-A11) | H3
Clause 8.0 - Works risk F:............................. V:............................ T:............................ | Item | 0.00
Clause 9.0 - Indemnities F:............................. V:............................ T:............................ | Item | 0.00
Clause 10.0 - Insurances F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.0 - Securities
Guarantee for payment
The employer shall provide to the contractor a guarantee for payment in the amount of .......................................................Rand (R...........................) [11.5.1]. The contractor shall consequently waive his lien or right of continuing possession of the works [11.10] N/A
Extension of waiver of lien
The contractor shall ensure that a waiver of lien is included in all subcontracts and that the works executed on the site are kept free of all liens and other encumbrances at all times [11.10] YES
F:............................. V:............................ T:............................ | Item | 0.00
Execution (A12 - A17) | H3 | 0.0
Clause 12.0 - Obligations of the parties
Office accommodation The contractor shall provide, maintain and remove on practical completion air conditioned office accommodation with suitable tables and chairs for meetings to be held on the site. Such offices shall be kept clean and fit for use at all times [12.2.18]
Notice board The contractor shall erect in a position approved by the principal agent, maintain and remove on practical completion a notice board recommended by the South African Institute of Architects and as approved by the principal agent listing the names and logos of the employer, the contractor and the professional consultants. No subcontractor or supplier notice boards may be erected unless permission is granted by the principal agent for such notice boards to be erected [12.2.18]
Statutory and other notices
The contractor shall submit and/or comply with all statutory and other notices that may be required by any local or other authority in order not to cause any delay to the commencement of the works by the contractor. The contractor shall pay all deposits or fees in this regard
It is, however, specifically recorded that the employer shall be responsible for the timeous approval of building plans by any local or other authorities and the payment of any fees or charges related thereto
F:............................. V:............................ T:............................ | Item | 0.00
Clause 13.0 - Setting out F:............................. V:............................ T:............................ | Item | 0.00
Clause 14.0 - Nominated subcontractors
F:............................. V:............................ T:............................ | Item | 0.00
Clause 15.0 - Selected subcontractors
F:............................. V:............................ T:............................ | Item | 0.00
Clause 16.0 - Direct contractors Attendance on direct contractors In respect of direct contractors the contractor shall:
1. Designate an area for the direct contractor to establish a temporary office and workshop and storage of equipment and materials
2. Allow the use of personnel welfare facilities, where provided
3. Provide water, lighting and single phase electric power to a position within 50m of the place where the direct contract work is to be carried out, other than fuel or power for commissioning of any installation
4. Permit the direct contractor to use erected scaffolding, hoisting facilities, etc provided by the contractor, in common with others having the like right, while it remains erected on the site [16.1]
F:............................. V:............................ T:............................ | Item | 0.00
Clause 17.0 - Contract instructions Site instructions Instructions issued on site are to be recorded in a site instruction book which is to be supplied and maintained on site by the contractor
F:............................. V:............................ T:............................ | Item | 0.00
Completion (A18 - A24) | H3 | 0.0
Clause 18.0 - Interim completion | N/A | 0.0
Clause 19.0 - Practical completion F:............................. V:............................ T:............................ | Item | 0.00
Clause 20.0 - Completion in sections | Item | 0.00
F:............................. V:............................ T:............................ | Item | 0.00
Clause 21.0 - Defects liability period and final completion
F:............................. V:............................ T:............................ | Item | 0.00
Clause 22.0 - Latent defects liability period F:............................. V:............................ T:............................ | Item | 0.00
Clause 23.0 - Revision of the date for practical completion Substitution of materials and goods The removal or substitution of any materials and goods which do not conform to the specification or the contract drawings shall not constitute grounds for the extension of the construction period nor for the adjustment of the contract value [17.1.8; 23.1 & 2]
F:............................. V:............................ T:............................ | Item | 0.00
Clause 24.0 - Penalty for late or non-completion F:............................. V:............................ T:............................ 0.085% of the Contract Amount (excluding VAT) per calendar day | Item | 0.00
Payment (A25 - A27) | H3 | 0.0
Clause 25.0 - Payment
Prices submitted Where prices are submitted by the contractor or subcontractor during the progress of the works in respect of contract instructions or in regard to a claim under the terms of this agreement and notwithstanding the fact that such prices may be used in an interim payment certificate, there is to be no presumption of acceptance. Should the principal agent wish to accept any such prices prior to the issue of the certificate of final completion, it shall be in writing
F:............................. V:............................ T:............................ | Item | 0.00
Clause 26.0 - Adjustment of the contract value and final account
Fluctuations in costsAll fluctuations in costs, with the exception of fluctuations in the rate of Value Added Tax, shall be for the account of the contractor [26.9.5] No
Tenant installation/user requirements delayed There is a possibility that certain works related to tenant installation/user requirements may have to be delayed and may consequently not be executed prior to practical completion
Should the contractor be instructed to do so he shall execute this work under the conditions pertaining to this agreement on the basis that a separate amount for preliminaries appurtenant to this work (if applicable) is agreed to between the contractor and the principal agent and on condition that instruction to proceed with such work is given to him within a period of three (3) calendar months after the date of practical completion of the works
The employer reserves the right to omit such work without compensation to the contractor for loss of profit or any other loss which the contractor may suffer as a result of such omission
Cost of claims All costs incurred by the contractor in the preparation of claims shall be borne by the contractor. This provision shall not preclude an adjudicator or an arbitrator appointed in terms of this agreement [30.6 & 7] from making a determination on costs
Claims from subcontractors The contractor shall review, assess and adjudicate any claims received by him from any subcontractor and thereafter submit same to the principal agent with a recommendation in order to assist the principal agent in adjudicating the claim [26.6]
F:............................. V:............................ T:............................ | Item | 0.00
Clause 27.0 - Recovery of expense and/or loss F:............................. V:............................ T:............................ | Item | 0.00
Suspension and termination (A28 - A29) | H3 | 0.0
Clause 28.0 - Suspension by the contractor
F:............................. V:............................ T:............................ | Item | 0.00
Clause 29.0 - Termination
F:............................. V:............................ T:............................ | Item | 0.00
Dispute resolution (A30) | H3 | 0.0
Clause 30.0 - Dispute resolution F:............................. V:............................ T:............................ | Item | 0.00
Agreement
The required information of the parties and the amount of the contract sum shall be inserted in the agreement for signature of the agreement by the parties F:............................. V:............................ T:............................ | Item | 0.00
Contract data
Insert under the above heading, with suitable sub-headings, any amendments, modifications, corrections or supplements to the contract data
Tenderer's selections
Before submission of his tender the contractor is to complete the tenderer's selections in the contract data
F:............................. V:............................ T:............................ | Item | 0.00
SECTION B: GENERAL PRELIMINARIES | H2 | 0.0
Definitions and interpretation (B1) | H3 | 0.0
Clause 1.1 - Definitions F:............................. V:............................ T:............................ | Item | 0.00
Clause 1.2 - Interpretation F:............................. V:............................ T:............................ | Item | 0.00
Documents (B2) | H3 | 0.0
Clause 2.1 - Checking of documents F:............................. V:............................ T:............................ | Item | 0.00
Clause 2.2 - Provisional bills of quantities
Multiple procurementThese bills of quantities are in multiple procurement format ie the "wet trades" - earthworks, concrete, formwork and reinforcement, precast concrete, masonry, waterproofing and sub-surface drainage - are provisionally measured and the subsequent trades are budgetary allowances and/or provisional sums F:............................. V:............................ T:............................ | Item | 0.00
Clause 2.3 - Availability of construction information
F:............................. V:............................ T:............................ | Item | 0.00
Clause 2.4 - Ordering of materials and goods F:............................. V:............................ T:............................ | Item | 0.00
Previous work and adjoining properties (B3) | H3 | 0.0
Clause 3.1 - Previous work - dimensional accuracy F:............................. V:............................ T:............................ | Item | 0.00
Clause 3.2 - Previous work - defects F:............................. V:............................ T:............................ | Item | 0.00
Clause 3.3 - Inspection of adjoining properties F:............................. V:............................ T:............................ | Item | 0.00
The site (B4) | H3 | 0.0
Clause 4.1 - Handover of site in stages F:............................. V:............................ T:............................ | Item | 0.00
Clause 4.2 - Enclosure of the works | Item | 0.00
F:............................. V:............................ T:............................
Clause 4.3 - Geotechnical and other investigations F:............................. V:............................ T:............................ | Item | 0.00
Clause 4.4 - Encroachments F:............................. V:............................ T:............................ | Item | 0.00
Clause 4.5 - Existing premises occupied F:............................. V:............................ T:............................ No | Item | 0.00
Clause 4.6 - Services - known F:............................. V:............................ T:............................ | Item | 0.00
Management of contract (B5) | H3 | 0.0
Clause 5.1 - Management of the works F:............................. V:............................ T:............................ | Item | 1.00
Clause 5.2 - Progress meetings F:............................. V:............................ T:............................ | Item | 0.00
Clause 5.3 - Technical meetings F:............................. V:............................ T:............................ | Item | 0.00
Samples, shop drawings and manufacturer's instructions (B6) | H3 | 0.0
Clause 6.1 - Samples of materials F:............................. V:............................ T:........................... | Item | 0.00
Clause 6.2 - Workmanship samples F:............................. V:............................ T:............................ | Item | 0.00
Clause 6.3 - Shop drawings F:............................. V:............................ T:............................ | Item | 0.00
Clause 6.4 - Compliance with manufacturer's instructions F:............................. V:............................ T:............................ | Item | 0.00
Deposits and fees (B7) | H3 | 0.0
Clause 7.1 - Deposits and fees F:.......................... V:........................... T:......................... | Item | 0.00
Temporary services (B8) | H3 | 0.0
Clause 8.1 - Water F:............................. V:............................ T:............................ | Item | 0.00
Clause 8.2 - Electricity F:............................. V:............................ T:............................ | Item | 0.00
Clause 8.3 - Ablution and welfare facilities F:............................. V:............................ T:............................ | Item | 0.00
Clause 8.4 - Communication facilities F:............................. V:............................ T:............................ | Item | 0.00
Prime cost amounts (B9) | H3 | 0.0
Clause 9.1 - Responsibility for prime cost amounts
Where details of materials for which prime cost amounts are to be allowed are readily available, the quantity surveyor may elect to insert the relevant prime cost amounts in measured items, which measured items shall contain sufficient detail for the contractor to price for fixing and installation, waste, etc F:............................. V:............................ T:............................ | Item | 0.00
Attendance on subcontractors (B10) | H3 | 0.0
Clause 10.1 - General attendance General attendance is defined as being the duties of the contractor in terms of clause 12.2 of the JBCC n/s subcontract agreement F:............................. V:............................ T:............................ | Item | 0.00
Clause 10.2 - Special attendance
It is important to note that general attendance only requires the contractor to "permit the subcontractor to use erected scaffolding, hoisting facilities, etc provided by the contractor, in common with others having the like right while it remains erected on the site" (refer to 12.2.13 of the JBCC n/s subcontract agreement). Many n/s subcontractors qualify their tenders to exclude scaffolding and/or hoisting facilities. Especially scaffolding could be an expensive item and it may be necessary in order to avoid claims to require the contractor to provide for the extended use of scaffolding for specific subcontracts within a description of "special attendance" in the applicable bill F:............................. V:............................ T:............................ | Item | 0.00
General (B11) | H3 | 0.0
Clause 11.1 - Protection of the works F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.2 - Protection/isolation of existing works and works occupied in sections F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.3 - Security of the works F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.4 - Notice before covering work F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.5 - Disturbance
The following clause may be used should "disturbance" [11.5] need to be extended
Disturbance All work is to be carried out in such a manner as to cause no unacceptable or unreasonable dust, noise, vibrations, nuisance, inconvenience, annoyance and the like to the public, others, other properties and traffic in so far as they exceed the permissible limitations set by government legislation or by the local authority. Any delays, stoppages and the like arising from or in order to comply with the above will not constitute grounds for an adjustment to the construction period or contract value whatsoever F:........................ V:.........................T:......................... | Item | 0.00
Clause 11.6 - Environmental disturbance
Controlling all forms of pollution The contractor shall be responsible for and take all precautions in controlling by whatever means necessary all forms of pollution emanating from the site during the construction period due inter alia to noise, artificial light, wind-blown sand, dust, deposits of mud, etc
The contractor is to ensure that all roads which border the site and are used by the contractor during the execution of the works are kept clean and free of any dirt or debris caused by the execution of the works
Environmental management planThe employer has prepared an environmental management plan (EMP). The contractor shall price opposite this item for compliance with all the requirements of such EMP F:........................ V:.........................T:......................... | Item | 0.00
Clause 11.7 - Works cleaning and clearing F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.8 - Vermin F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.9 - Overhand work F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.10 - Tenant installations F:............................. V:............................ T:............................ | Item | 0.00
Clause 11.11 - Advertising F:............................. V:............................ T:............................ | Item | 0.00
SECTION C: SPECIFIC PRELIMINARIES | H2 | 0.0
Warranties for materials and workmanship Where warranties for materials and/or workmanship are called for, the contractor shall obtain a written warranty, addressed to the employer, from the entity supplying the materials and/or executing the work and shall deliver same to the principal agent on final completion of the contract
The warranty shall state that workmanship, materials and installation are warranted for a specific period from the date of practical completion and that any defects that may arise during the specified period shall be made good at the expense of the entity supplying the materials and/or doing the work, upon written notice to do so
The warranty will not be enforced if the work is damaged by defects in the execution of the works, in which case the responsibility for replacement shall rest entirely with the contractor F:............................. V:............................ T:............................ | Item | 0.00
Overtime Should overtime be required to be worked for any reason whatsoever, the cost of such overtime is to be borne by the contractor unless the principal agent has specifically authorised, prior to execution thereof, that costs for such overtime are to be borne by the employer F:........................ V:.........................T:......................... | Item | 0.00
Cooperation of the contractor for cost management It is specifically agreed that the contractor accepts the obligation of assisting the principal agent in implementing proper cost management. The contractor will be advised by the principal agent of all cost management procedures which will be implemented to ensure that the contract value does not exceed the budget F:........................ V:.........................T:......................... | Item | 0.00
Overloading The contractor shall take all necessary steps to ensure that no damage occurs due to overloading of any portion of the works or temporary works eg scaffolding, etc. The contractor shall submit details of his proposed loading, storage, plant erection, etc to the principal agent for approval prior to proceeding with such loading, storing or erecting and shall comply with and pay for the principal agent's requirements in connection with the provision of temporary support work, etc. Any damage caused to the works by overloading shall be made good by the contractor at his sole expense F:........................ V:.........................T:......................... | Item | 0.00
Propping of floors below The contractor is advised that propping of floors below may be required if he wishes to use any areas of completed suspended reinforced concrete slabs for vehicle access, storage of materials and goods and location of plant, scaffolding, etc. The location of these areas and any necessary propping shall be approved by the principal agent and the cost thereof shall be borne by the contractor F:........................ V:.........................T:......................... | Item | 0.00
Testing of flat roof waterproofing for watertightness Flat roof waterproof areas shall be flooded and kept "ponded" for at least forty eight (48) hours as a test to ensure the watertightness of the waterproofing and before any further construction work is carried out above the waterproofing F:........................ V:.........................T:......................... | Item | 0.00
Health and safety
Without limiting the generality of the provisions of clause 2.0, the contractor's attention is drawn to the provisions of the Construction Regulations issued in terms of the Occupational Health and Safety Act, 1993 as amended. It is specifically stated that the employer shall prepare a documented health and safety specification for the works and that the employer shall ensure that the contractor has made provision for the cost of health and safety measures during the execution of the works. The contractor shall price opposite this item for compliance with the act and the regulations and the reasonable provisions of the aforementioned health and safety specification [2.1]
Health and safety Without limiting the generality of the provisions of clause 2.0, the contractor's attention is drawn to the provisions of the Construction Regulations issued in terms of the Occupational Health and Safety Act, 1993 as amended. It is specifically stated that the employer shall prepare a documented health and safety specification for the works and that the employer shall ensure that the contractor has made provision for the cost of health and safety measures during the execution of the works. The contractor shall price opposite this item for compliance with the act and the regulations and the provisions of the aforementioned health and safety specification [2.1] |  | 0.0
The contractor shall: 1. Comply with the health and safety specification for the works 2. Prepare and agree with the health and safety consultant the health and safety plan for the works 3. Cooperate with the health and safety consultant in all respects 4. Manage the compliance of all subcontractors with the regulations and with the health and safety plan and specification 5. Conform to the conditions contained in the employer's health and safety specification |  | 0.0
F:............................. V:............................ T:............................ | Item | 0.00
Broad based black economic empowerment (BBBEE) Tenders submitted will be evaluated taking into account their empowerment rating The employer will be monitoring the broad based black economic empowerment (BBBEE) status of the contractor throughout the execution of the works
The contractor is to submit to the principal agent on an annual basis a schedule of spend, split into vendors engaged as subcontractors and suppliers indicating their BBBEE rating including proof of the said rating F:........................ V:.........................T:......................... | Item | 0.00
Advertising rights The employer may elect to contract with advertising agencies for the erection of advertising hoardings, banners, wraps or the like for the duration of the contract. The contractor shall not prevent such an arrangement and will assist in the facilitation of same. The position and type of advertising structure to be agreed with the principal agent so as not to hinder the contractor in meeting his obligations under this agreement F:........................ V:.........................T:......................... | Item | 0.00
Confidentiality The contractor undertakes to maintain in confidence any and all information regarding this project and shall obtain appropriate similar undertakings from all subcontractors and suppliers. Such information shall not be used in any way except in connection with the execution of the works No information regarding this project shall be published or disclosed without the prior written consent of the employer F:........................ V:.........................T:......................... | Item | 0.00
Media releases All rights of publication of articles in the media, together with any advertising relating thereto or in any way connected with this project, shall vest with the employer The contractor together with his subcontractors shall not, without the prior written consent of the employer, cause any statement or advertisement connected with this project to be printed, screened or aired by the media F:........................ V:.........................T:......................... | Item | 0.00
SECTION C: SPECIFIC PRELIMINARIES | H2
Any special items to meet the parrtcular circumstances of a specific project are embodied in this section. Where required for an aspect of the works to be executed according to a design by a consulting engineer, a recital of the headings to the individual clauses of the JBCC Engineering General Conditions are included
PROPRIETARY BRANDED PRODUCTS The contractor shall take delivery of, handle, store, use apply and/or fix all proprietary branded products in strict accordance with the manufacturers' instruction after consultation with the manufacturer's authorised representative F:............................. V:............................ T:............................ | Item | 0.00
OVERTIME Should overtime be required to be worked for any reason whatsoever, the costs of such overtime are to be borne by the contractor unless the principal agent has specifically authorised in writing, prior to the execution thereof, that costs for such overtime are to be borne by the employer. F:............................. V:............................ T:............................ | Item | 0.00
AS BUILT DRAWINGS The position of construction breaks and the extent of individual concrete pours are to be recorded by the contractor on the structural engineer's drawings and are to be submitted to the principal agent and the structural engineer for their records. F:............................. V:............................ T:............................ | Item | 0.00
SITE INSTRUCTIONS Site instructions issued on site are to be recorded in triplicate in a site instruction book which is to be maintained on site by the contractor F:............................. V:............................ T:............................ | Item | 0.00
LABOUR DESK The contractor shall establish a labour desk on site with a dedicated office of maximum 9m2 with a desk 2 chairs and electricity. From the labour desk, the contractor will appoint a dedicated community laison officer at a minimum monthly gross remuneration of R 7500.00, subject to all statutory deductions. The community laison officer will be employed by and will report to the contractor, who will in turn forward such reports to the Principal Agent | Item | 0.00
LABOUR RECORDAt the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number and description of tradesmen and labourers employed by him and all subcontractors on the works each day. F:............................. V:............................ T:............................ | Item | 0.00
PLANT RECORD At the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number, type and capacity of all plant, excluding hand tools, currently used on the works. F:............................. V:............................ T:............................ | Item | 0.00
NON CESSION OF MONIES The contractor shall not cede nor assign his rights or claims to any monies due or to become due under this contract F:............................. V:............................ T:............................ | Item | 0.00
GENERAL SPECIFICATION | Item | 0.00
The general specification for the works is the Model Preambles For Trades 1999 as published by the Association of Quantity Surveyors. Tenderers are to avail themselves of the full contract thereof and the document will be deemed to be part of the conditions of of tender and contract F:............................. V:............................ T:............................
SECTION D: HEALTH & SAFETY PRELIMINARIES | H2 | 0.0
Total cost of "Health and Safety Measures"
Preparation of the contractor's site specific health and safety plan stipulated by the project SHE specification | Item | 0.00
Principal contractor's initial obligation in respect to the Occupational Health and Safety Act and Construction Regulations | Item | 0.00
Principal contractor's time related obligations in respect of Occupations Health and Safety Act and Construction Regulations | Item | 0.00
Provision of Personal Protective Equipment (PPE)
Reflective vests | Item | 0.00
Hard hats | Item | 0.00
Earplugs | Item | 0.00
Protective steel toed foot wear | Item | 0.00
Hand gloves | Item | 0.00
High visibility overalls to SARTSM chapter 13 level 3 | Item | 0.00
Thermal jackets | Item | 0.00
Dust masks | Item | 0.00
Safety goggles | Item | 0.00
Gumboots | Item | 0.00
Fall protective equipment | Item | 0.00
Provisional of full time construction health and safety officer (SACPCMP registered) | Item | 0.00
Health and safety representative | Item | 0.00
Health and safety file | Item | 0.00
SUMMARY OF CATEGORIES | H3
Category : Fixed R........................................ Category : Value R........................................ Category : Time R........................................
Carried to Final Summary |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 1 | H1
DEMOLITIONS | H1
General | H3
Water supply pipes and other piping in ground that may be encountered and found necessary to disconnect or cut, shall be effectually stopped off or grubbed up and removed, and any new connections that may be necessary shall be made with proper fittings to the satisfaction of the principal agent
Unless otherwise described all materials are to become the property of the contractor and are to be removed from the site
Demolishing and removing | H3
Breakdown and demolish existing walkway complete with roof coverings, digging out and removal of concrete footings and cart away of all rubble and prepare the surface for a new structure. | m2 | 81 |  | 0
Breakdown and demolish existing water tank structure completely and cart away of all rubble and leave no visible sign of the structure | No | 1 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 2 | H1
ALTERATIONS | H1
REMOVAL OF EXISTING WORK | H2
SUPPLEMENTARY PREAMBLES | H2
View site | H4
Before submitting his tender the tenderer shall visit the site and satisfy himself as to the nature and extent of the work to be done and the value of the materials salvageable from the alterations. No claim for any variations of the contract sum in respect of the nature and extent of the work or of inferior or damaged materials will be entertained
Explosives | H4
No explosives whatsoever may be used for alteration purposes unless otherwise stated
General | H4
The contractor shall carry out the whole of the works with as little mess and noise as possible and with a minimum of disturbance to tenants in the building and to adjoining premises and their tenants. He shall provide proper protection and provide, erect and remove when directed, any temporary tarpaulins that may be necessary during the progress of the works, all to the satisfaction of the principal agent
Doors, fanlights, windows, fittings, frames, linings, etc which are to remain the property of the employer shall be carefully taken out, temporarily stored, transported over a distance of approximately 5km to store and handed over to the employer
Doors, fanlights, windows, fittings, frames, linings, etc which are to be re-used shall be thoroughly overhauled before refixing including taking off, easing and rehanging, cramping up, re-wedging as required and making good cramps, dowels, etc, and oiling, adjusting and repairing ironmongery as necessary, replacing any glass damaged in removal or subsequently and stopping up all nail and screw holes with tinted plastic wood to match timber, unless otherwise described. Re-painting or re-varnishing is given separately
Prices for taking out of doors, windows, etc shall include for removal of all beads, architraves, ironmongery, etc
Prices for taking out and removing doors and frames shall include for removing door stops, cabin hooks, etc
With regard to building up of openings in existing walls, cement screeds and pavings, granolithic, tops of walls, etc, shall be levelled and prepared for raising of brickwork
Making good of finishes shall include making good of the brick and concrete surfaces onto which the new finishes are applied, where necessary
The contractor will be required to take all dimensions affecting the existing buildings on the site and he will be held solely responsible for the accuracy of all such dimensions where used in the manufacture of new items (doors, windows, fittings, etc)
Demolishing and removing | H3
Lift up and set aside for re-use | H4
Paving | m2 | 81 |  | 0
Taking up and removing wood block floor coverings, vinyl floor coverings, carpets, etc and preparing screeds for new floor coverings | H4
Carpet floor covering | m2 | 20 |  | 0
Taking out doors, windows, etc, including thresholds, sills, etc, setting aside for re-use and later refixing in similar new position | H4
Timber doors | No | 14 |  | 0
Timber / aluminium framed windows | No | 26 |  | 0
Taking down and removing roofs, floors, panelling, ceilings, partitions, etc | H4
Ceilings | m2 | 281 |  | 0
Roof coverings | m2 | 2458 |  | 0
Box gutters | m | 471 |  | 0
225 x 45mm Timber beams | m | 139 |  | 0
Steel cladding on columns | m2 | 56 |  | 0
Hacking up/off and removing ceramic tiles including removing mortar bed or adhesive from concrete or brickwork and preparing surfaces for new screed, plaster, tile finish, etc | H4
Ceramic floor tiles | m2 | 69 |  | 0
Ceramic wall tiles | m2 | 205 |  | 0
Taking out and removing sanitary fittings, tanks, geysers, etc, including disconnecting from pipes, traps, etc and making good floor and wall finishes (making good tiling and paintwork elsewhere) | H4
Remove existing WC | No | 4 |  | 0
Remove existing paraplegic WC | No | 2 |  | 0
Remove existing paraplegic wash hand basin | No | 2 |  | 0
Remove existing urinals | No | 4 |  | 0
Remove existing drop-in wash hand basin | No | 5 |  | 0
Taking out/off and removing glass and mirrors | H4
Mirrors | No | 24 |  | 0
CLEANING OF EXISTING FINISHES | H2
Wash down with approved cleaning detergent | H3
Clean existing internal and external facebrick | m2 | 1317 |  | 0
Steel windows | m2 | 22 |  | 0
Allow for trimming of trees and removal of roots where specified | Item | 1.00 |  | 0
Allow for inspection of roof ventilators and sealing them with necessary waterproofing material | Item | 1.00 |  | 0
BUDGETARY ALLOWANCES | H2
Allow an amount of R50 000 (Fifty Thousand Rands) nett for work or costs which cannot entirely be foreseen, defined or detailed, to be measured and priced in accordance with thisBill of Quantities and omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 50000 | 50000
Carried Forward to Summary of Section |  |  |  | 50000
SECTION NO. 2 | H1
BILL NO. 3 | H1
EARTHWORKS (PROVISIONAL) | H1
Nature of ground | H3
The nature of the ground is assumed to be loose sandy material, therefore "earth", but possibly interspersed with "soft rock" or "hard rock"
The nature of the ground is assumed to be gravel, therefore "earth", but possibly interspersed with "soft rock" or "hard rock"
The nature of the ground is assumed to be silty clay with loose river boulders varying in size up to approximately 450mm diameter, all of which will be deemed as "earth", but possibly interspersed with "hard rock"
Trial holes indicate that the nature of the ground is silty clay to a depth of approximately 500mm with fine to medium loose sandy material below, therefore "earth"
A soils investigation has been carried out on the site by the engineer and the report is annexed to these bills of quantities. The soils report indicates that the ground varies between silty sand, reworked soil of mixed origin and residual shale, all of which will be deemed as "earth". All very hard unweathered shale, ironstone, etc, the removal of which necessitates the use of explosives or heavy duty hydraulic percussion hammers (peckers), will be classified as "hard rock"
Subterranean water | H3
No subterranean water is expected The water table is expected to vary between approximately 2m and 3m below natural ground level. The removal of subterranean water is given separately
Carting away of excavated material | H3
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
Filling and layer work materials | H3
References such as "G1", "G2", etc and "C1", "C2", etc in descriptions of filling and layer work materials refer to corresponding references in the document "Guidelines for Road Construction Materials. TRH 14 : 1985" compiled by the Committee of State Road Authorities and the properties set out therein for each kind shall be applicable to the respective materials described hereinafter
Testing | H3
Prices for filling are to include for all necessary density and other tests
EXCAVATIONS ETC | H2
Excavation in earth not exceeding 2m deep | H3
Holes | m3 | 4 |  | 0
Extra over bulk excavations in earth for excavation in | H3
Soft rock | m3 | 0.4 |  | 0
Hard rock | m3 | 0.2 |  | 0
Extra over all excavations for carting away | H3
Surplus material from excavations and/or stock piles on site, to a dumping site to be located by the contractor | m3 | 4 |  | 0
Risk of collapse of excavations | H3
Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 14 |  | 0
Keeping excavations free of water | H3
Keeping excavations free of all water other than subterranean water | Item | 1.00 |  | 0
FILLING ETC | H2
Earth filling obtained from the excavations and/or prescribed stock piles on site, compacted to 95% Mod AASHTO density | H3
Backfilling to trenches, holes, etc | m3 | 2 |  | 0
Earth filling of G6 material supplied by the contractor, compacted to 95% Mod AASHTO density | H3
Under floors, steps, pavings, etc | m3 | 26 |  | 0
Compaction of ground surfaces | H3
Compaction of natural or excavated ground surface under floors etc, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod AASHTO density | m2 | 251 |  | 0
WEED KILLERS, INSECTICIDES, ETC | H2
Soil insecticide in accordance with SANS 5859 | H3
Under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 239 |  | 0
To bottoms and sides of trenches etc | m2 | 26 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 4 | H1
CONCRETE, FORMWORK AND REINFORCEMENT | H1
SUPPLEMENTARY PREAMBLES | H2
Cost of tests | H4
The costs of making, storing and testing of concrete test cubes as required under clause 7 "Tests" of SABS 1200 G shall include the cost of providing cube moulds necessary for the purpose, for testing costs and for submitting reports on the tests to the architect. The testing shall be undertaken by an independent firm or institution nominated by the contractor and to the approval of the architect. (Test cubes are measured separately)
Breeze concrete | H4
Breeze concrete shall consist of twelve parts clean dry furnace ash, free from coal or other foreign matter, to one part cement (12:1), the ash graded up to particles which will pass a 16,5mm ring from a minimum which fails to pass a 4,75mm mesh. The finer materials from the screening are to be first mixed with the cement into a mortar and the ash added afterwards and thoroughly incorporated
Formwork | H4
Description of formwork shall be deemed to include use and waste only (except where described as "left in" or "permanent"), for fitting together in the required forms, wedging, plumbing and fixing to true angles and surfaces as necessary to ensure easy release during stripping and for reconditioning as necessary before re-use
The vertical strutting shall be carried down to such construction as is sufficiently strong to afford the required support without damage and shall remain in position until the newly constructed work is able to support itself
Formworks to soffits of solid slabs etc shall be deemed to be slabs not exceeding 250mm thick unless otherwise described
Formwork to soffits of slabs, beams, etc shall be deemed to be propped up exceeding 1,5m and not exceeding 3,5m high unless otherwise described
Formwork to sides of bases, pile caps, ground beams, etc will only be measured where it is prescribed by the engineer for design reasons. Formwork necessitated by irregularity or collapse of excavated faces will not be measured and the cost thereof shall be deemed to be included in the allowance for taking the risk of collapse of the sides of the excavations, provision for which is made in "Earthworks"
REINFORCED CONCRETE | H2
25MPa/19mm concrete | H3
Bases | m3 | 4
SUPERSTRUCTURE | H2
TEST CUBES | H2
Making and testing 150 x 150 x 150mm concrete strength test cube (Provisional) | No | 2
SMOOTH FORMWORK (DEGREE OF ACCURACY I) | H2
Smooth formwork to sides | H3
Bases (Provisional) | m2 | 11
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 5 | H1
MASONRY | H1
BRICKWORK | H3
Sizes in descriptions | H4
Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick
Bagged and sealed walls | H3
Walls in two skins described as "bagged and sealed" shall be deemed to include having the outer face of the inner skin bagged with 1:6 cement and sand mixture and sealed with two coats bitumen emulsion waterproofing coating
Face bricks | H3
Bricks shall be ordered timeously to obtain uniformity in size and colour
Pointing | H3
Descriptions of recessed pointing to fair face brickwork and face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc
SUPERSTRUCTURE | H2
One brick walls | m2 | 12 |  | 0
2,5mm Brickwork reinforcement | H3
150mm Wide reinforcement built in horizontally | m | 40 |  | 0
PAVING | H2
60mm Thick double zig-zag (shape S-A) interlocking precast concrete paving blocks complying with SABS 1058 laid with butt joints on 20mm thick washed river sand bed with sand swept into joints including preparation of ground or filling | H3
Paving on 20mm thick mortar bed | m2 | 158 |  | 0
Garden kerb as per the engineer's specification | m | 24 |  | 0
LABOUR ONLY | H3
Paving | m2 | 81 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 6 | H1
WATERPROOFING | H1
SUPPLEMENTARY PREAMBLES | H2
Waterproofing | H3
Waterproofing of roofs, basements, etc shall be laid under a ten year guarantee by an approved applicator. Waterproofing to roofs shall be laid to even falls to outlets etc with necessary ridges, hips and valleys. Descriptions of sheet or membrane waterproofing shall be deemed to include additional labour to turn-ups and turn-downs
WATERPROOFING TO ROOFS ETC | H2
Waterproofing to exposed concrete roofs with bituminous aluminium paint finish.Apply one coat a.b.e. bituprime to all surfaces including all verges and around outlets and protrusions.Apply one layer of Derbigum SP4 waterproofing membrane, fully bonded by means of "torch on fusion", with 75mm side laps and 100mm end laps. Flashing strip 150mm girth at turn-ups using a.b.e. super laykold. Apply two coat of a.b.e. silvakote bituminous aluminium protective coating, all in accordance with manufacturer's recommendations. | H3
On flat roofs | m2 | 719 |  | 0
Two coats Roofcote bituminous aluminium paint | H3
On waterproofing to roofs | m2 | 719 |  | 0
Two layers mastic asphalt trafficable trowelled-on waterproofing with coarse building sand or fine stone chips evenly spread and well rolled in | H3
30 x 30mm Triangular fillets | m | 112 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 7 | H1
ROOF COVERINGS, CLADDINGS, ETC | H1
SUPPLEMENTARY PREAMBLES | H2
All items are measured net unless otherwise described
Flashings, trimming plates, etc. | H4
Prices to include for all cutting and waste and relevant fixing material, unless otherwise described
All rates for flashings, trimmings, etc., to include for forming drips and closed ends to troughs of sheet steel roof covering where applicable
All items are unless otherwise described measured net
PROFILED METAL SHEETING AND ACCESSORIES | H2
Safintra 0.53mm Saflock 700 profiled interloclocking concealed fix roof sheeting or similar approved, complete including flashings, caps, etc, fixed to timber purlins | H3
Roof covering with pitches not exceeding 25 degrees | m2 | 2539 |  | 0
ROOF AND WALL INSULATION | H2
135mm Thick flexible , non-combustable , lightweight Aerolight insulation | H3
Insulation between trusses and over brandering /purlins in a complete roof and ceiling system | m2 | 2497 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 8 | H1
CARPENTRY AND JOINERY | H1
Fixing | H3
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or pins, or to be shot-pinned, to brickwork or concrete
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 500mm centres, and where described as "bolted", the bolts have been given elsewhere
Decorative thermosetting plastic laminate covering | H3
Laminate covering shall be glued under pressure and edge strips of same shall be butt jointed at junctions with adjacent similar finish
ROOFS ETC | H2
Laminated timber | H3
225 x 45mm Beams | m | 139 |  | 0
EAVES, VERGES, ETC | H2
Everite FC77 pressed fibre-cement | H3
Everite medium density plain ungrooved Nutec fascia boards, size 225 x 6mm thick, fixed to timber rafters twice screwed with 12 x 40mm countersunk brass screws with Chromaprep H-profile fascia joiner between boards | m | 251 |  | 0
DOORS ETC | H2
44mm Semi solid masonite door | H3
Door size 900 x 2115mm high (D2) | No | 4 |  | 0
Door size 1000 x 2125mm high (D1) | No | 4 |  | 0
44mm Solid core masonite door with hardwood edge coverstrips on both sides | H3
Door size 877 x 2100mm high (D4) | No | 3 |  | 0
Door size 1500 x 2400mm high (D12) | No | 1 |  | 0
Door size 1500 x 2100mm high (D11) | No | 2 |  | 0
FITTINGS | H2
20mm Caesarstone tops on sleek concrete (code: 4003) with 100mm high splashbacks and 450mm downward front and side facia) | m2 | 9 |  | 0
20mm Caesarstone tops on sleek concrete (code: 4003) with 100mm high splashbacks and 50mm downward front, back and side facia) | m2 | 5 |  | 0
JOINERY SUNDRIES | H2
Standard timber weather bar | No | 3 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 9 | H1
CEILINGS, PARTITIONS AND ACCESS FLOORING | H1
SUPPLEMENTARY PREAMBLES | H2
Descriptions: | H3
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or pins or shot pinned to brickwork or concrete
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 600mm centres, and where described as "bolted" the bolts have been given elsewhere
CEILINGS ETC | H2
NAILED UP CEILINGS | H2
6mm thick "Everite Nutec" fibre-cement boards with aluminium "epoxy coated" H-type pressed steel jointing strips | H3
Wall cladding | m2 | 56 |  | 0
Ceilings | m2 | 59 |  | 0
Extra over ceiling for 500 x 500mm opening for door trap | No | 1 |  | 0
12.5mm Gyproc rhinoboard skimmed ceiling system fixed to Gypframe D34/32K | H3
Ceilings | m2 | 39 |  | 0
Extra over ceiling for 500 x 500 mm trap door | No | 1 |  | 0
SUSPENDED CEILINGS | H2
12.5mm Gyproc Gyprex white vinyl finish ceiling boards size 600 x 600mm suspended with 19mm Gyproc hanger strap or suspension wire at 1200mm centres and fixed to the mail tee web using 2 steel pop rivets or oneo of Gyproc 13mm wafer-head tek screws. | H3
Ceilings suspended not exceeding 1m below steel/timber trusses | m2 | 242 |  | 0
BUDGETARY ALLOWANCES | H2
Allow an amount of R5 000 (Five Thousand Rands) for bulkheads at Dukuduku building, to be omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 5000 | 5000
Carried Forward to Summary of Section |  |  |  | 5000
SECTION NO. 2 | H1
BILL NO. 10 | H1
IRONMONGERY | H1
SUPPLEMENTARY PREAMBLES | H2
Descriptions | H3
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs
SUPPLEMENTARY PREAMBLES | H2
Proprietary items | H3
Where applicable the manufacturers' names or product catalogue titles are given in sub-headings preceding the items Prices are to be based on the specific products/articles specified. If tenderers wish to offer alternative products/articles for certain items, these items are to be clearly marked and the alternative specification given with supporting brochures etc clarifying the features of the products/articles offered On request returnable samples are to be provided to the principal agent for consideration
Finishes to ironmongery | H3
Where applicable finishes to ironmongery are indicated by suffixes in accordance with the following list: BS Satin bronze lacqueredCH Chromium plated SC Satin chromium plated SE Silver enamelled GE Grey enamelledAN Anodised natural AS Anodised silver AB Anodised bronze AG Anodised gold ABL Anodised black PB Polished brass PL Polished and lacquered PT Epoxy coated SD Sanded
HINGES, BOLTS, ETC | H2
Dorma | H3
100mm Brass hinge | No | 73 |  | 0
LOCKS | H2
Dorma or similar approved | H3
Cylinder sashlock code: D036S-SS | No | 1 |  | 0
Round cylinder escutcheon (Stainless Steel) DCE-002-SS | Pairs | 8.0 |  | 0
Built-in flush bolts BFBDM | No | 2 |  | 0
65mm Five pin euro-profile double cylinder keyed to differ (Satin Nickel) code: DDC056501KD | No | 1 |  | 0
66mm Five pin euro-profile double cylinder grand master keyed (Satin Nickel) code: DDC106601GMK | No | 6 |  | 0
65mm Five pin euro-profile knob cylinder keyed to differ (Satin Nickel) code: DKC056501KD | No | 8 |  | 0
Narrow stile cylinder escutcheon (Stainless Steel) DCE-105 SS | Pairs | 12.0 |  | 0
Cylinder deadlock code: D037D SS | No | 7 |  | 0
Disabled WC indicator bolt (Red & White) and turnknob code: DWC-006 | Sets | 4.0 |  | 0
Rebate conversion kit D038R NP | No | 4 |  | 0
153mm Flush bolt with heel (Satin chrome) code: DFBSC-180 | No | 4 |  | 0
305mm Flush bolt with heel (SS finish) code: DFB-SC-181 | No | 4 |  | 0
Dust proof strike (Stainless steel) code: DPS-SS-032 | No | 5 |  | 0
Adjustable roller bolt (Stainless Steel) code: DBC-SS-022 | No | 7 |  | 0
Narrow Stile dead lock operating with european profile cylinder D02735 SS | No | 7 |  | 0
Narrow stile hook lock operating with european profile cylinder D02935 SS | No | 11 |  | 0
40mm Half knob cylinder DHK004000 | No | 11 |  | 0
Bathroom deadlock (Stainless steel) code: D032D SS | No | 4 |  | 0
HANDLES | H2
Dorma or similar approved | H3
120 X 40mm Rectangular flush pull handle DFP-SS-025 | No | 22 |  | 0
325 x 25mm Stainless Steel Straight tubular pull handle DPH301A BTB | Pairs | 12 |  | 0
149 x 19mm Stainless Steel Straight tubular pull handle BTB code: DPH301C BTB | Pairs | 6 |  | 0
325 x 25mm Stainless Steel Straight tubular pull handle flange DPH301A BT | No | 4 |  | 0
325 x 25mm Stainless Steel Straight tubular pull handle flange DPH301 BT | No | 2 |  | 0
Lever handles on rose with cylinder escutcheons (Stainless steel) code: TH125 SS | Sets | 1.0 |  | 0
PUSH PLATES AND KICKING PLATES | H2
Dorma or similar approved | H3
300 x (width of door) x 1,2mm thick stainless steel kick plate code:DKP-430-SF 300 | No | 30 |  | 0
150 x 400 x 1,2mm thick stainless steel BLANK plate DPP-430-BL | No | 6 |  | 0
DOOR CLOSERS | H2
Dorma or similar approved | H3
Floor mounted door stop (Nikel Plated) code: DDS-SS-017 | No | 21 |  | 0
TS73V PA - PAB - SL Parallel Arm NON HOLD OPEN door closer including parallel arm brackets | Sets | 2.0 |  | 0
TS73V PA - DC-PAB-SL Parallel Arm DELAYED ACTION push side fixing door closer including parallel arm brackets | Sets | 2.0 |  | 0
LETTERS, NAMEPLATES, ETC | H2
Dorma or similar approved | H3
150 x 150mm stainless steel male sign DSS-130 M | No | 4 |  | 0
150 x 150mm stainless steel female sign DSS-131 F | No | 4 |  | 0
150 x 150mm stainless steel DISABLED PERSONS sign DSS-133 P | No | 3 |  | 0
BATHROOM FITTINGS | H2
Franke or similar approved | H3
Franke Stratos STRX 600 1,2/1,5mm thick grade 304 18/10 satin stainless steel paper towel dispenser size 305 x 300 x 134mm high, with stainless steel screws with spindle system and cylinder lock with standard Franke key, plugged and screwed to the wall with stainless steel screws | No | 4 |  | 0
Franke Stratos STRX 605 1,2/1,5mm thick grade 304 18/10 satin stainless steel waste disposal bins, size 300 x 270 x 520mm high, plugged and screwed to the wall with stainless steel screws. | No | 4 |  | 0
Franke Stratos STRX 615 1,2/1,5mm thick grade 304 18/10 satin stainless steel sanitary bag dispenser, size 250 x 156 x 90mm high, plugged and screwed to the wall with stainless steel screws. | No | 4 |  | 0
Franke Stratos STRX 618 1,2/1,5mm thick grade 304 18/10 satin stainless steel soap dispenser, size 304 x 100 x 134mm deep with a replacement and refillable 1 litre container, cylinder lock with standard Franke key, plugged and screwed to the wall with stainless steel screws. | No | 6 |  | 0
Franke Stratos STRX 611 1,2/1,5mm thick grade 304 18/10 satin stainless steel recessed sanitary towel disposal bins, size 232 x 135 x 331mm deep, plugged and screwed to the wall with stainelss steel screws | No | 4 |  | 0
Franke Stratos HDTX 674 2mm thick grade 304 18/10 satin stainless steel toilet roll holders, size 130 x 415 x 150mm deep for 3 rolls maximum 115mm diameter with spindle system and cylinder lock with standard Franke key, plugged and screwed to the wall with stainless steel screws | No | 6 |  | 0
Franke CNTX 600 32mm diameter Grade 304 18/10 stainless steel grab rails (code: 359872), size 600mm x 95mm deep with Franke Fine Grip surface, plugged and screwed to the wall with stainless steel screws. | No | 2 |  | 0
Franke CNTX 700 A 32mm diameter Grade 304 18/10 stainless steel angle bars (code: 359877), size 256 x 618 x 95mm deep with Franke Fine Grip surface, plugged and screwed to the wall with stainless steel screws. | No | 2 |  | 0
SUNDRIES | H2
Dorma or similar approved | H3
Stainless steel Hat and Coat Hook with rubber buffer code: DHC-SS-031B | No | 4 |  | 0
Standard aluminium weather bar | No | 3 |  | 0
1.2mm high Stainless steel cladding | No | 2 |  | 0
300 x 200mm aluminium louvre | No | 1 |  | 0
BUDGETARY ALLOWANCES | H2
Allow an amount of R35 000 (Thirty Five Thousand Rands) for ironmongery, to be omitted in part or as awhole as instructed by Principal Agent | Item | 1.00 | 35000 | 35000
Carried Forward to Summary of Section |  |  |  | 35000
SECTION NO. 2 | H1
BILL NO. 11 | H1
STRUCTURAL STEELWORK | H1
Descriptions | H3
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of L-shaped and U-shaped anchor bolts shall be deemed to include bending, threading, nuts and washers and embedding in concrete
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
STEEL COLUMNS AND BEAMS | H2
Welded columns in single lengths with flat base, cap, bearer and connection plates, bolted to concrete | H3
75 x 75mm x 2.5kg/m I-section columns | t | 1.00 |  | 0
125 x 75 x 20 x 2 CFLC Rafters | t | 0.08 |  | 0
STEEL PURLINS, GIRTS, BRACING, ETC | H2
GALVANISED STEEL PURLINS, GIRTS, BRACING, ETC | H2
Purlins and girts, bolted to steel | H3
75 x 50 x 20 x 2mm Thick cold-formed lipped channel purlins | t | 0.18 |  | 0
Welded bracing, anti-sag rails, etc with flat connection plates, bolted to steel | H3
50 x 50 x 3 L Bracing | t | 0.04 |  | 0
BOLTS, FASTENERS, ETC | H2
M12 chemical anchor | No | 36 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 12 | H1
METALWORK | H1
Descriptions of bolts, anchors, etc | H3
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
Items described as "holed for bolt(s)" shall be deemed to exclude the bolts unless otherwise described
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 600mm centres
Aluminium doors, windows, etc | H3
Doors and windows shall comply with AAAMSA design criteria Doors and windows shall be supplied with protective tape and plastic and shall be removed only once surrounding trades have been completed
The following certificates shall be provided prior to commencement of site work: 1 A copy of the relevant AAAMSA Performance Test Certificate from the manufacturer/contractor supplying the architectural aluminium product 2 A certificate of performance confirming that anodised or powder coating has been processed in accordance with SANS 999 and SANS 1796 respectively 3 A powder guarantee of not less than 15 years issued by the powder manufacturer. The specific conditions in this guarantee shall form part of the powder coating process 4
PRESSED STEEL DOOR FRAMES | H2
1,2mm Double rebated frames suitable for one brick walls | H3
Frame for double door 1500 x 2100mm high | No | 2 |  | 0
ALUMINIUM WINDOWS, DOORS, ETC | H2
Note: Tenderers are referred to architect's drawings numbered 01-531 annexed to these bill of quantities/ accompanying these bills of quantities for tender purposes
Interpon (Code:YW206F) Matt white Metallic or similar approved powder coated aluminium windows glazed with 6.38mm thick laminated clear toughened glass fitted in all panes with glazing putty and plugged to brickwork or concrete. | H3
Window size 3020 x 1555mm (W16) | No | 8 |  | 0
Window size 2970 x 2000mm (W17) | No | 2 |  | 0
Window size 3200 x 1500mm (W19) | No | 1 |  | 0
Window size 3965 x 1500mm (W20) | No | 1 |  | 0
Window type size 1020 x 1500mm (W21) | No | 1 |  | 0
Window size 4130 x 1500mm (W22) | No | 1 |  | 0
Interpon (Code:YW206F) Matt white Metallic or similar approved powder coated aluminium windows glazed with 6.38mm thick laminated clear toughened glass fitted in all panes with glazing putty and plugged to brickwork or concrete. With new ironmongery | H3
Window size 1900 x 1245mm (W13) | No | 2 |  | 0
Window size 4000 x 1500mm (W18) | No | 8 |  | 0
Window size 5160 x 1320mm (W23) | No | 1 |  | 0
Interpon (Code:YW206F) Matt white Metallic or similar approved powder coated aluminium windows glazed with 6.38mm thick laminated clear toughened glass fitted in all panes with glazing putty and plugged to brickwork or concrete. With frosted vinyl | H3
Window size 920 x 1530mm (W14) | No | 1 |  | 0
Window size 6650 x 1890mm (W25) | No | 1 |  | 0
Window size 8700 x 1760mm (W26) | No | 1 |  | 0
Interpon (Code:YW206F) Matt white Metallic or similar approved powder coated purpose made aluminium doors, sidelights and fanlights with 8mm LOW Eclear laminated safety glass, as per smartglass intruderprufe with clip-on glazing beads and neoprene gasket seals as per manufacturer or similar approved plugged to brickwork or concrete | H3
Double door size 1890 x 2390mm (D14) | No | 1 |  | 0
Double door size 1910 x 2175mm (D17) | No | 1 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 13 | H1
PLASTERING | H1
SUPPLEMENTARY PREAMBLES | H2
Plastering of concrete soffits | H3
The plasterer should make sure that the surface to be plastered does not deviate from the required plane by more than 10mm. All high areas should be removed by hacking or cutting. Fill low areas by applying undercoats of plaster not exceeding 15m in thickness, apply one coat plaster to surface, leave to stiffen, strike off with a striker board, and wood float to an even surface and to a thickness of 10 - 15mm thick.
SCREEDS | H2
3:1 Cement plaster screeds wood floated on concrete | H3
Average 30mm thick on floors to falls | m2 | 719 |  | 0
INTERNAL PLASTER | H2
12-15mm Thick one coat plaster (4:1) of sand/cement smooth plaster finished with a steel float.Note: All plaster splashes, loose material and surface contamination to be removed by brushing or scrapping. Using approved filler, all defects to be made good. Remove powdery residues once dry. | H3
On walls | m2 | 217 |  | 0
On narrow widths | m2 | 15 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 14 | H1
TILING | H1
WALL TILING | H2
300 x 600 "Lime Green Sourcing Solutions (Code LG2222SP)" Apex white matt or similar approved porcelain wall tiles, (PC R350/m2 VAT incl. delivered to site), fixed with TAL tile adhesive with 5mm joints continuous in both directions and grouted with TAL grout " or equal approved epoxy grouting, colour to architect | H3
On walls | m2 | 205 |  | 0
On narrow widths, etc. | m2 | 15 |  | 0
FLOOR TILING | H2
600 x 600mm "Lime Green Sourcing Solutions (Code LG 2221SP) Damstone medium grey or similar approved matt porcelain tile, (PC R450.00/m2 VAT excl. delivered to site) fixed to internal floor screed with TAL tile adhesive with 5mm joints continuous in both directions and grouted with TAL tile grout or equally epoxy grouting, colour to architect | H3
On floors | m2 | 89 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO 2 | H1
BILL NO. 15 | H1
PLUMBING AND DRAINAGE (PROVISIONAL) | H1
Wire gratings | H3
Descriptions of gutter outlets etc shall be deemed to include wire balloon gratings
Stormwater channels | H3
Descriptions of channels shall be deemed to include necessary excavation, surface preparation, compaction, etc, and disposal of surplus material on site
French drains | H3
Descriptions of french drains shall be deemed to include excavation, stone filling graded from 300mm diameter at bottom to 75mm diameter at top, geofabric filter blanket over stone, 300mm earthfilling over and disposal of surplus material on site
Septic tanks | H3
Descriptions of proprietary type septic tanks shall be deemed to include excavation, bedding and jointing, concrete base slabs, jointing to drains and backfilling, compaction, etc all in accordance with the manufacturer's instructions and disposal of surplus material on site
Stainless steel basins, sinks, wash troughs, urinals, etc | H3
Stainless steel for economy basins, domestic sinks and worktops shall be Type 430 (17/0) Stainless steel for urinals, basins, quality sinks, wash troughs, institutional equipment, etc shall be Type 304 (18/8) Stainless steel for laboratory sinks, photographic equipment, etc shall be Type 316 (18/8) Units shall have standard aprons on all exposed edges and tiling keys against walls where applicable
Sealing of edges | H3
Outer edges of sinks, basins, baths, urinals, etc are to be sealed against adjacent surfaces with approved silicone
PVC-U pipes and fittings | H3
Sewer and drainage pipes and fittings shall be jointed and sealed with butyl rubber rings Soil, waste and vent pipes and fittings shall be solvent weld jointed or sealed with butyl rubber rings
PVC-U pressure pipes and fittings | H3
Pipes of 50mm diameter and smaller shall be plain ended with solvent welded PVC-U loose sockets and fittings Pipes of 63mm diameter and greater shall have sockets and spigots with push-in type integral rubber ring joints. Bends shall be PVC-U and all other fittings shall be cast iron, all with similar push-in type joints
High density polyethylene (HDPe) pipes and fittings | H3
Pipes shall be type IV and of the class specified with compression fittings
Polypropylene pipes | H3
Polypropylene pipes 54mm diameter and smaller shall be seamless copper coloured Class 16 pipes jointed with heat welded thermoplastic or where so described compression fittings Pipes shall be firmly fixed to walls, etc with coloured nylon snap-in pipe clips with provision for accommodating thermal movement and jointed and fixed strictly in accordance with the manufacturer's instructions
Copper pipes | H3
Pipes shall be hard drawn and half-hard pipes of the class described. Class 0 (thin walled hard drawn) pipes shall not be bent. Class 1 (thin walled half-hard), Class 2 (half-hard) and Class 3 (heavy walled half-hard) pipes shall only be bent with benders with inner and outer formers. Fittings to copper waste, vent and anti-syphon pipes, capillary solder fittings and compression fittings shall be "Cobra Watertech" type. Capillary solder fittings shall comply with ISO 2016
Copper pipes are to be installed in accordance with the latest revision of the Code of Practice for Copper Plumbing soldering techniques. Flux, solder, etc to be strictly in accordance with the manufacturer's requirements with special attention to copper flux composition
Reducing fittings | H3
Where fittings have reducing ends or branches they are described as "reducing" and only the largest end or branch size is given. Should the contractor wish to use other fittings and bushes or reducers he may do so on the understanding that no claim in this regard will be entertained
Fixing of pipes | H3
Unless specifically otherwise stated, descriptions of pipes shall be deemed to include fixing to walls, etc, casting in, building in or suspending not exceeding 1m below suspension level
Paper wrapping to pipes | H3
Pipes chased into brickwork must be wrapped with two layers of stout brown paper tied with wire. Rates are to include for wrapping around joints and fittings
Disinfection of water pipework | H3
Water pipework is to be disinfected at completion
Densyl petrolatum anti-corrosion tape¦H3¦0.0¦¦¦¦¦19/03/2022 03:48:23¦
Pipes to be taped shall be coated with the appropriate primer and the tape shall be applied in the appropriate widths and with 15mm overlaps Couplings and fittings to pipes shall be taped in strict accordance with the manufacturer's instructions
Prices for wrapping of pipes shall include for all work as described to couplings in the length
Laying, backfilling, bedding, etc of pipes | H3
Pipes shall be laid and bedded in accordance with manufacturers' instructions and trenches shall be carefully backfilled
Where no manufacturers' instructions exist, pipes shall be laid in accordance with the relevant section of SANS 2001
General | H3
Descriptions of cast iron roof outlets shall be deemed to include joints to pipes and casting into concrete (adaptors for joints to PVC pipes, etc are given separately) Descriptions of overflow pipes where measured in number, shall be deemed to include joints to cisterns and splay cut ends
Descriptions of pipes laid in and including trenches and of inspection chambers, catchpits, etc shall be deemed to include excavation, bedding, backfilling, compaction to a minimum of 95% Mod AASHTO density and disposal of surplus material on site
Descriptions of service pipes and flexible connecting pipes shall be deemed to include connections to taps, cisterns, etc and to steel pipes (adaptors for connections to copper pipes, etc are given separately)
Descriptions of WC pans, slop hoppers, etc shall be deemed to include for joints to soil pipes (pan connectors are separately measured)
As-built drawings | H3
Where required, the contractor shall prepare an updated set of as-built drawings. At completion of the contract the contractor shall hand these drawings to the principal agent for reproducing onto the originals for handing over to the employer (provision for allowance of as-built drawings elsewhere)
RAINWATER DISPOSAL | H2
Galvanised sheet iron | H3
300 x 300 Box gutters | m | 315 |  | 0
300 x 300mm Rainwater down pipes | m | 112 |  | 0
Extra over gutter for bracket | No | 105 |  | 0
Extra over for stopped end | No | 10 |  | 0
Extra over rainwater pipe for bend | No | 35 |  | 0
Extra over rainwater pipe for shoe | No | 35 |  | 0
SANITARY FITTINGS ETC | H2
Grohe or similar approved | H3
Grohe Pneumatic actuation chrome (Code: GRO-G-37059000) | No | 2 |  | 0
Grohe Skate cosmopolitan wall plates - dual (Code: GRO-G-38732000) | No | 4 |  | 0
Grohe uniset for WC without support feet (Code: GRO-G-38643001) | No | 6 |  | 0
Cobra or similar approved | H3
Welcome white toilet pan wall hung (Code: COB-439800WH) with "welcome"toilet seat (Code: COB-C-CCSEAT/WEL) | No | 6 |  | 0
Shelter round wall hung basin 495mm long x 430mm wide with 1 pre-punched tap hole in the centre of the basin. Overflow, expansion bolts and installation included | No | 2 |  | 0
Snug top inlet wall hung urinal white (Code: COB-705600WH) anti splash flushing design with an effecient 1.9L flush. Versatile top or back entry installation. Compact concealed trapway | No | 4 |  | 0
Vaal or similar approved | H3
Vaal weaver rectangular countertop basin with one taphole 335 x 290 (Code: VAA-706601WH) with fixing bolt set (Code: COB-8448Z000) | No | 5 |  | 0
TRAPS ETC | H2
Cobra Watertech or similar approved | H3
Cobra waste basin (Code: COB-303/N) slotted with flanged back nut, washer and plug. 62mm diameter flange, 77mm long shank and 1/1/4BSP male iron connection end | No | 7 |  | 0
Cobra bottle trap (Code: COB-340/N) with 75mm deep seal type with adjustable telescopic waste connection pipe with 1/4BSP female inlet connection and 1 1/4BSP male iron outlet connection. Brass only | No | 7 |  | 0
Cobra Junior flushmaster (COB-F-J6-000/N) exposed flush valve chrome, Non-hold open feature with ball o stop control inlet, wall flange, additional screw and piston for large bowl and urinals. 3/4BSP female iron connection end with offset urinal flush pipe 215 x 15mm diameter chrome outlet with 27mm offset. For junior flushmaster urinal flush, including inlet adaptor for urinal flush valves 110mm x 77mm x 230mm | No | 4 |  | 0
Cobra offset urinal flush pipe (Code: COB-FJT5-5) 215 x 15mm diameter chrome outlet with 27mm offset | No | 4 |  | 0
SANITARY PLUMBING | H1
SANITARY PLUMBING | H2
Extra over uPVC, soil and vent pipes for fittings | H3
110mm Access bend | No | 6 |  | 0
110mm Pan connector | No | 6 |  | 0
110mm Access junction | No | 6 |  | 0
110mm Junction | No | 6 |  | 0
110mm Access bend with anti-syphon horn | No | 6 |  | 0
110mm Access double junction | No | 6 |  | 0
110mm Air vent cowl | No | 6 |  | 0
110mm GI vent valve | No | 6 |  | 0
TAPS, VALVES, ETC | H2
Cobra Watertech similar approved | H3
Cobra angle valve (Code: COB-232-10/N) angle regulating valve with durable ABS handle, DZR body, flow regulating spindle type headpart G1/2 X G1/2 BSP connections | No | 7 |  | 0
Cobra Medical elbow action pillar tap (Code: COB-503-21B/N) with 1/4 turn ceramic disk headparts, flanged backnut and blue indice for cold water application. 1/2BSP male iron connection end | No | 2 |  | 0
Cobra pillar type single lever basin mixers flow rate restricted to 5 ltrs/min G1/2 female connection ends (Code: COB-AM-951) | No | 5 |  | 0
BUDGETARY ALLOWANCES | H2
Allow an amount of R20 000 (Twenty Thousand Rands) for any other additional plumbing work and testing, to be omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 20000 | 20000
Allow an amount of R60 000 (Sixty Thousand Rands) for Waterhole roof drainage as per Engineer's specification, to be omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 60000 | 60000
Carried Forward to Summary of Section |  |  |  | 80000
SECTION NO. 2 | H1
BILL NO. 16 | H1
GLAZING | H1
GLAZING TO STEEL WITH PUTTY | H2
4mm Clear toughened safety glass | H3
Panes not exceeding 0,1 m2 | m2 | 0.2 |  | 0
MIRRORS, ETC | H2
4mm Thick glass mirror with 4 visible fixing points with stainless steel screws and chrome caps | H3
Mirror 400 x 600mm high | No | 24 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 17 | H1
PAINTWORK | H1
PAINTWORK ETC TO PREVIOUSLY PAINTED WORK | H2
ON FLOATED PLASTER | H2
One coat Professional Gypsum & plaster primer (PP700) and two coats "Professional Superior Low Sheen" (PEM 1000/TLS) to external walls | H3
On walls | m2 | 177 |  | 0
ON METAL | H2
One coat Plascoprime 170 primer with Professional all purpose undercoat (PU800) and two coats "Velvaglo" | H3
On door frames | m2 | 21 |  | 0
On windows | m2 | 22 |  | 0
On gates | m2 | 21 |  | 0
On roller shutter doors | m2 | 5 |  | 0
ON WOOD | H2
One coat Woodcare water based interior varnish and one coat "Woodcare water based interior varnish" | H3
On frame | m2 | 4 |  | 0
On doors | m2 | 46 |  | 0
One coat Woodcare sunproof (WSP (1-16)) and two coats "Woodcare Sunproof " | H3
On frame | m2 | 7 |  | 0
One coat wood primer (UC2) and two coats "Professional Super Matt" (PEM 900/TSA) | H3
On trusses | m2 | 423 |  | 0
PAINTWORK ETC TO NEW WORK | H2
ON FIBRE-CEMENT | H2
One coat Professional Gypsum with plaster primer and two coats "Professional Contractors Matt White" (PEM 600) | H3
On ceilings and cornices | m2 | 116 |  | 0
One coat Professional Gypsum with plaster primer (PP700) and two coats "Professional Superior Low Sheen" (PEM 1000) | H3
On fascias and barge boards | m2 | 220 |  | 0
ON WOOD | H2
One coat wood primer (UC2) with Professional all purpose undercoat '(PU800) and two coats "Plascon Velvago" (VLW/TVW)) | H3
On doors | m2 | 54 |  | 0
On beams | m2 | 89 |  | 0
Prepare surface and apply three coats clear matt varnish plascon polyurethane matt varnish, suede x 44 or similar approved | H3
On doors | m2 | 32 |  | 0
Carried Forward to Summary of Section |  |  |  | 0
SECTION NO. 2 | H1
BILL NO. 18 | H1
PROVISIONAL SUMS | H1
General | H4
Work for which budgetary allowances are provided will be measured and valued in accordance with the relevant building agreement and deducted in whole or in part if not required without any compensation for loss of profit on the said allowances
Prime cost amounts and provisional sums are net. Prime cost amounts shall include for delivery to site of all articles concerned Provisional sums are for material and equipment supplied and installed complete by firms of specialists
Profit | H4
Where stated, the contractor may allow for profit if required
General attendance on nominated/selected subcontractors | H4
The item "attendance" which follows each provisional sum for nominated/selected subcontractors' work, shall be deemed to cover all the contractor's costs incurred in providing free of charge to the nominated/selected subcontractors the contractor's duties as described in clause 12.2 of the JBCC N/S Subcontract Agreement
Special attendance on nominated/selected subcontractors | H4
Where "special attendance" such as unloading, storing, placing in position, providing special power supplies, specific hoisting, cranage and scaffolding requirements, provision of temporary casing and/or other specific protection of the works, special security and clearing away rubbish is required, a separate item describing the specific requirements in detail is to be provided for the pricing of such requirements
Builder's work | H4
Builder's work in connection with specialist services is given elsewhere in these bills of quantities
BUDGETARY ALLOWANCES | H2
PROVISIONAL SUMS FOR NOMINATED/SELECTED SUBCONTRACT WORKS | H2
HARVEY THATCH TILES | H2
Provide the sum of R 280,000.00 (Two Hundred and Eighty Thousand Rands) for the stripping off of the old thatch grass from the roof and installing Harvey thatch tile complete with Cape reed ceilings and Alububble insulation on the existing roof structure (Waterhole building) as per specifications, to be omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 280000 | 280000
Profit | %IT
Attendance | %IT
HARVEY THATCH TILES | H2
Provide the sum of R 265,000.00 (Two Hundred and Sixty Five Thousand Rands) for the stripping off of the old thatch grass from the roof and installing Harvey thatch tile complete with Cape reed ceilings and Alububble insulation on the existing roof structure (Mountain & Picnic Kiosks) as per specifications, to be omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 265000 | 265000
Profit | %IT
Attendance | %IT
TIMBER ROOF STRUCTURE | H2
Provide the sum of R 828,957.00 (Eight Hundred and Twenty Eight Thousand, Nine Hundred and Fifty Seven Rands) for the removal and replacement of timber roof structure, to be omitted in part or as a whole as instructed by Principal Agent | Item | 1.00 | 828957 | 828957
Profit | %IT
Attendance | %IT
ELECTRICAL WORK | H2
Provide the sum of R 100,000.00 (One Hundred Thousand Rands) for the supply and installation of electrical work complete,to be expended as the Agent/Representative may direct or deduct in whole or in part, if not required | Item | 1.00 | 100000 | 100000
Profit | %IT
Attendance | %IT
Carried Forward to Summary of Section |  |  |  | 1473957
Section Summary - Building Works
Demolitions | Page | 33 |  | 0
Alterations | Page | 37 |  | 50000
Earthworks (provisional) | Page | 40 |  | 0
Concrete, formwork and reinforcement | Page | 42 |  | 0
Masonry | Page | 44 |  | 0
Waterproofing | Page | 45 |  | 0
Roof coverings, claddings, etc | Page | 46 |  | 0
Carpentry and joinery | Page | 48 |  | 0
Ceilings, partitions and access flooring | Page | 50 |  | 5000
Ironmongery | Page | 56 |  | 35000
Structural steelwork | Page | 58 |  | 0
Metalwork | Page | 61 |  | 0
Plastering | Page | 62 |  | 0
Tiling | Page | 63 |  | 0
Plumbing and drainage | Page | 71 |  | 80000
Glazing | Page | 72 |  | 0
Paintwork | Page | 74 |  | 0
Provisional sums | Page | 77 |  | 1473957
Carried Forward to Final Summary |  |  |  | 1643957
FINAL SUMMARY
PRELIMINARIES | Page | 32 |  | 0
BUILDING WORKS | Page | 78 |  | 1643957
SUB TOTAL | ST |  |  | 1643957
ADD: Value added Tax at 15% | TAX | 15.00 |  | 246593.55
TOTAL CARRIED TO FORM OF OFFER |  |  |  | 1890550.55