## Defaults
TENDER NO: | G567/2025
CLIENT: | SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE
FILE NO:
TITLE OF THE PROJECT: | REQUEST FOR BIDS FOR THE APPOINTMENT OF A CONTRACTOR FOR THE REPAIRS TO THE EXISTING TIMBER ROOF TRUSSES AND WET SERVICES AT THE KIRSTENBOSCH CENTRE FOR BIODIVERSITY CONSERVATION BUILDING INCLUDING ASSOCIATED CIVIL AND BUILDING WORKS AT THE HARRY MOLTENO LIBRARY WITHIN KIRSTENBOSCH NATIONAL BOTANICAL GARDENS: COMPLETION CONTRACT
SCHEDULES FOR REPAIR WORK |  | REPAIR
SCHEDULE NO 1: | PRELIMINARY AND GENERAL | 100
SCHEDULE NO 2: | STRUCTURAL AND BUILDING RELATED REPAIR WORK: CENTRE FOR BIODIVERSITY CONSERVATION | 200
SCHEDULE NO 3: | STRUCTURAL AND BUILDING RELATED REPAIR WORK: KIRSTENBOSCH RESEARCH CENTRE | 300
SCHEDULE NO 4: | STRUCTURAL AND BUILDING RELATED REPAIR WORK: HARRY MOLTENO LIBRARY | 400
SCHEDULE NO 5: | CIVIL AND STORMWATER RELATED WORK: HARRY MOLTENO LIBRARY | 500
SCHEDULE NO 6: | PLUMBING AND DRAINAGE RELATED WORK: KIRSTENBOSCH RESEARCH CENTRE AND CENTRE FOR BIODIVERSITY CONSERVATION | 600
SCHEDULE NO 7: | FIRE FIGHTING EQUIPMENT: KIRSTENBOSCH RESEARCH CENTRE AND CENTRE FOR BIODIVERSITY CONSERVATION | 700

## SECTION A
Tender No: | G567/2025
CLIENT: | SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE
REQUEST FOR BIDS FOR THE APPOINTMENT OF A CONTRACTOR FOR THE REPAIRS TO THE EXISTING TIMBER ROOF TRUSSES AND WET SERVICES AT THE KIRSTENBOSCH CENTRE FOR BIODIVERSITY CONSERVATION BUILDING INCLUDING ASSOCIATED CIVIL AND BUILDING WORKS AT THE HARRY MOLTENO LIBRARY WITHIN KIRSTENBOSCH NATIONAL BOTANICAL GARDENS: COMPLETION CONTRACT
SCHEDULE OF QUANTITIES
NB | TENDERES MUST COMPLETE THE SCHEDULE OF QUANTITIES IN BLAC INK
SCHEDULE NO 1: |  | PRELIMINARY AND GENERAL (SECTION A)
ITEM | DESCRIPTION |  | AMOUNT
MEANING OF TERMS “TENDER / TENDERER”
Any reference to the words “Tender" or "Tenderer" herein and/or in any other documentation shall be construed to have the same meaning as the words "Bid" or "Bidder"
PRELIMINARIES
The JBCC Preliminaries Code 2101, July 2007 edition for use with the JBCC Principal Building Agreement Edition 5.0 (Reprint 1) Code 2101, July 2007 is taken to be incorporated herein. The tenderer is deemed to have referred to these documents for the full intent and meaning of each clause. These clauses are referred to by number and heading only. Where standard clauses or options are not applicable to the contract such modifications or corrections as are necessary are given under each relevant clause. Where an item is not relevant to this specific contract such item is marked "N/A" signifying "Not Applicable"
PRICING OF PRELIMINARIES
Should Option A, as set out in clause B10.3.1 hereinafter be used for the adjustment of preliminaries then each item priced is to be allocated to one or more of the three categories Fixed, Value Related or Time Related and the respective amounts entered in the spaces provided under each item
Items not priced in these Preliminaries shall be deemed to be included elsewhere in these Bills of Quantities
SECTION A: JBCC PRINCIPAL BUILDING AGREEMENT
DEFINITIONS
A1.0 | DEFINITIONS AND INTERPRETATION
Refer to Contract Data
Fixed:_______________Value related:_____________Time related:___________
Item
OBJECTIVE AND PREPARATION
A2.0 | OFFER, ACCEPTANCE AND PERFORMANCE
Clause 2.0
Fixed:_______________Value related:_____________Time related:___________
Item
A3.0 | DOCUMENTS
Clause 3.0 Clause 3.2.1 is amended by replacing “14.1” with “14.0” Clause 3.7 is amended by the addition of the following: The contractor shall supply and keep a copy of the JBCC Series 2000 Principal Building Agreement and Preliminaries applicable to this contract on the site, to which the employer, principal agent and agents shall have access at all times
Clause 3.11 is amended by replacing the second reference to “principal agent” with the word “employer”
Fixed:_______________Value related:_____________Time related:___________
Item
A4.0 | DESIGN RESPONSIBILITY
Clause 4.0
Fixed:_______________Value related:_____________Time related:___________
Item
A5.0 | EMPLOYER’S AGENTS
Clause 5.0
Clause 5.1.2 is amended to include clauses 32.6.3, 34.3, 34.4 and 38.5.8
Fixed:_______________Value related:_____________Time related:___________
Item
A6.0 | CONTRACTOR'S SITE REPRESENTATIVE
Clause 6.0
Fixed:_______________Value related:_____________Time related:___________
Item
A7.0 | COMPLIANCE WITH LAWS AND REGULATIONS
Clause 7.0
Note: A separate clause has been included in Section C: Specific Preliminaries of the bills of quantities / lump sum document for the contractor to have the opportunity to price for all the requirements of the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification
Fixed:_______________Value related:_____________Time related:___________
Item
A8.0 | WORKS RISK
Clause 8.0
Fixed:_______________Value related:_____________Time related:___________
Item
A9.0 | INDEMNITIES
Clause 9.0
Fixed:_______________Value related:_____________Time related:___________
Item
A10.0 | GENERAL INSURANCES
Clause 10.0
Clause 10.0 is amended by the addition of the following clauses:
10.5 Damage to the Works
(a) Without in any way limiting the contractor’s obligations in terms of the contract, the contractor shall bear the full risk of damage to and/or destruction of the works by whatever cause during construction of the works and hereby indemnifies and holds harmless the employer against any such damage. The contractor shall take such precautions and security measures and other steps for the protection and security of the works as the contractor may deem necessary
(b) The contractor shall at all times proceed immediately to remove or dispose of any debris arising from damage to or destruction of the works and to rebuild, restore, replace and/or repair the works
(c) The employer shall carry the risk of damage to or destruction of the works and materials paid for by the employer that is the result of the excepted risks as set out in 10.6
(d) Where the employer bears the risk in terms of this contract, the contractor shall, if requested to do so, reinstate any damage or destroyed portions of the works and the costs of such reinstatement shall be measured and valued in terms of 32.0 hereof
10.6 Injury to Persons or loss of or damage to Properties
(a) The contractor shall be liable for and hereby indemnifies the employer against any liability, loss, claim or proceeding whether arising in common law or by statute, consequent upon personal injuries to or the death of any person whomsoever arising out of or in the course of or caused by the execution of the works unless due to any act or negligence of any person for whose actions the employer is legally liable
(b) The contractor shall be liable for and hereby indemnifies the employer against any liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person, arising out of or in the course of or by reason of the execution of the works unless due to any act or negligence of any person for whose actions the employer is legally liable
(c) The contractor shall, upon receiving a contract instruction from the principal agent, cause the same to be made good in a perfect and workmanlike manner at his own cost and in default thereof the employer shall be entitled to cause it to be made good and to recover the cost thereof from the contractor or to deduct the same from amounts due to the contractor
(d) The contractor shall be responsible for the protection and safety of such portions of the premises placed under his control by the employer for the purpose of executing the works until the issue of the certificate of practical completion
(e) Where the execution of the works involves the risk of removal of or interference with support to adjoining properties including land or structures or any structures to be altered or added to, the contractor shall obtain adequate insurance and will remain adequately insured or insured to the specific limit stated in the contract against the death of or injury to persons or damage to such property consequent on such removal or interference with the support until such portion of the works has been completed
10.7 High risk insurance
In the event of the project being executed in a geological area classified as a “High Risk Area”, that is an area which is subject to highly unstable subsurface conditions that might result in catastrophic ground movement evident by sinkhole or doline formation the following will apply:
10.7.1 Damage to the works
The contractor shall, from the commencement date of the works until the date of the certificate of practical completion bear the full risk of and hereby indemnifies and holds harmless the employer against any damage to and/or destruction of the works consequent upon a catastrophic ground movement as mentioned above. The contractor shall take such precautions and security measures and other steps for the protection of the works as he may deem necessary
When so instructed to do so by the principal agent, the contractor shall proceed immediately to remove and/or dispose of any debris arising from damage to or destruction of the works and to rebuild, restore, replace and/or repair the works, at the contractor’s own costs
10.7.2 Injury to persons or loss of or damage to property
The contractor shall be liable for and hereby indemnifies and holds harmless the employer against any liability, loss, claim or proceeding arising at any time during the period of the contract whether arising in common law or by statute, consequent upon personal injuries to or the death of any person whomsoever resulting from, arising out of, or caused by a catastrophic ground movement as mentioned above
The contractor shall be liable for and hereby indemnifies the employer against any and all liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person whomsoever arising out of or caused by a catastrophic ground movement, as mentioned above, which occurred during the period of the contract
10.7.3 It is the responsibility of the contractor to ensure that he has adequate insurance to cover his risk and liability as mentioned in 10.7.1 and 10.7.2. Without limiting the contractor’s obligations in terms of the contract, the contractor shall, within twenty-one (21) calendar days of the commencement date but before commencement of the works, submit to the employer proof of such insurance policy, if requested to do so
10.7.4 The employer shall be entitled to recover any and all losses and/or damages of whatever nature suffered or incurred consequent upon the contractor’s default of his obligations as set out in 10.7.1; 10.7.2 and 10.7.3. Such losses or damages may be recovered from the contractor or by deducting the same from any amounts still due under this contract or under any other contract presently or hereafter existing between the employer and the contractor and for this purpose all these contracts shall be considered one indivisible whole
Fixed:_______________Value related:_____________Time related:___________
Item
A11.0 | SPECIAL INSURANCES
Clause 11.0
Fixed:_______________Value related:_____________Time related:___________
Item
A12.0 | EFFECTING INSURANCES
Clause 12.0
Fixed:_______________Value related:_____________Time related:___________
Item
A13.0 | No clause
A14.0 | SECURITY
Clause 14.0
Clauses 14.1 - 14.8 are amended by replacing them with the following:
14.1 In respect of contracts with a contract sum up to R1 million, the security to be provided by the contractor to the employer will be a payment reduction of five per cent (5%) of the value certified in the payment certificate (excluding VAT)
14.1.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)
14.1.2 The employer shall be entitled to recover expense and loss from the payment reduction in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the payment reduction security or portions thereof to the contractor
14.2 In respect of contracts with a contract sum above R1 million, the contractor shall have the right to select the security to be provided in terms of 14.3, 14.4, 14.5, 14.6, or 14.7 as stated in the schedule. Such security shall be provided to the employer within twenty-one (21) calendar days from commencement date. Should the contractor fail to select the security to be provided or should the contractor fail to provide the employer with the selected security within twenty-one (21) calendar days from commencement date, the security in terms of 14.7 shall be deemed to have been selected
14.3 Where security as a cash deposit of ten per cent (10%) of the contract sum (excluding VAT) has been selected:
14.3.1 The contractor shall furnish the employer with a cash deposit equal in value to ten per cent (10%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date
14.3.2 Within twenty-one (21) calendar days of the date of practical completion of the works the employer shall reduce the cash deposit to an amount equal to three per cent (3%) of the contract value (excluding VAT), and refund the balance to the contractor
14.3.3 Within twenty-one (21) calendar days of the date of final completion of the works the employer shall reduce the cash deposit to an amount equal to one per cent (1%) of the contract value (excluding VAT) and refund the balance to the contractor
14.3.4 On the date of payment of the amount in the final payment certificate, the employer shall refund the remainder of the cash deposit to the contractor
14.3.5 The employer shall be entitled to recover expense and loss from the cash deposit in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the cash deposit security or portions thereof to the contractor
14.3.6 The parties expressly agree that neither the employer nor the contractor shall be entitled to cede the rights to the deposit to any third party
14.4 Where security as a variable construction guarantee of ten percent (10%) of the contract sum (excluding VAT) has been selected:
14.4.1 The contractor shall furnish the employer with an acceptable variable construction guarantee equal in value to ten per cent (10%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date
14.4.2 The variable construction guarantee shall reduce and expire in terms of the Variable Construction Guarantee form included in the invitation to tender
14.4.3 The employer shall return the variable construction guarantee to the contractor within fourteen (14) calendar days of it expiring
14.4.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer shall issue a written demand in terms of the variable construction guarantee
14.5 Where security as a fixed construction guarantee of five per cent (5%) of the contract sum (excluding VAT) and a five per cent (5%) payment reduction of the value certified in the payment certificate (excluding VAT) has been selected:
14.5.1 The contractor shall furnish a fixed construction guarantee to the employer equal in value to five per cent (5%) of the contract sum (excluding VAT)
14.5.2 The fixed construction guarantee shall come into force on the date of issue and shall expire on the date of the last certificate of practical completion
14.5.3 The employer shall return the fixed construction guarantee to the contractor within fourteen (14) calendar days of it expiring
14.5.4 The payment reduction of the value certified in a payment certificate shall be in terms of 31.8 (A) and 34.8
14.5.5 Where the employer has a right of recovery against the contractor in terms of the 33.0 the employer shall be entitled to issue a written demand in terms of the fixed construction guarantee or may recover from the payment reduction or may do both
14.6 Where security as a cash deposit of five per cent (5%) of the contract sum (excluding VAT) and a payment reduction of five per cent (5%) of the value certified in the payment certificate (excluding VAT) has been selected:
14.6.1 The contractor shall furnish the employer with a cash deposit equal in value to five per cent (5%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date
14.6.2 Within twenty-one (21) calendar days of the date of practical completion of the works the employer shall refund the cash deposit in total to the contractor
14.6.3 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)
14.6.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer may issue a written notice in terms of 33.4 or may recover from the payment reduction or may do both
14.7 Where security as a payment reduction of ten per cent (10%) of the value certified in the payment certificate (excluding VAT) has been selected:
14.7.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(B)
14.7.2 The employer shall be entitled to recover expense and loss from the payment reduction in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the payment reduction or portions thereof to the contractor
14.8 Payments made by the guarantor to the employer in terms of the fixed or variable construction guarantee shall not prejudice the rights of the employer or contractor in terms of this agreement
Fixed:_______________Value related:_____________Time related:___________
Item
EXECUTION
PREPARATION FOR AND EXECUTION OF THE WORKS
Clause 15.0
Clause 15.1.1 is amended by replacing it with:
No clause
Clause 15.1.2 is amended by replacing it with:
The security selected in terms of 14.0
Clause 15.1 is amended by the addition of the following clause:
15.1.4 An acceptable health and safety plan, required in terms of the Occupational Health and Safety Act, 1993 (Act 85 of 1993), within twenty-one (21) calendar days of commencement date
Clause 15.2.1 is amended by replacing it with the following clause:
Give the contractor possession of the site within ten (10) working days of the contractor complying with the terms of 15.1.4
Fixed:_______________Value related:_____________Time related:___________
Item
14.4.1 The contractor shall furnish the employer with an acceptable variable construction guarantee equal in value to ten per cent (10%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date
14.4.2 The variable construction guarantee shall reduce and expire in terms of the Variable Construction Guarantee form included in the invitation to tender
14.4.3 The employer shall return the variable construction guarantee to the contractor within fourteen (14) calendar days of it expiring
14.4.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer shall issue a written demand in terms of the variable construction guarantee
14.5 Where security as a fixed construction guarantee of five per cent (5%) of the contract sum (excluding VAT) and a five per cent (5%) payment reduction of the value certified in the payment certificate (excluding VAT) has been selected:
14.5.1 The contractor shall furnish a fixed construction guarantee to the employer equal in value to five per cent (5%) of the contract sum (excluding VAT)
14.5.2 The fixed construction guarantee shall come into force on the date of issue and shall expire on the date of the last certificate of practical completion
14.5.3 The employer shall return the fixed construction guarantee to the contractor within fourteen (14) calendar days of it expiring
14.5.4 The payment reduction of the value certified in a payment certificate shall be in terms of 31.8 (A) and 34.8
14.5.5 Where the employer has a right of recovery against the contractor in terms of the 33.0 the employer shall be entitled to issue a written demand in terms of the fixed construction guarantee or may recover from the payment reduction or may do both
14.6 Where security as a cash deposit of five per cent (5%) of the contract sum (excluding VAT) and a payment reduction of five per cent (5%) of the value certified in the payment certificate (excluding VAT) has been selected:
14.6.1 The contractor shall furnish the employer with a cash deposit equal in value to five per cent (5%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date
14.6.2 Within twenty-one (21) calendar days of the date of practical completion of the works the employer shall refund the cash deposit in total to the contractor
14.6.3 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)
14.6.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer may issue a written notice in terms of 33.4 or may recover from the payment reduction or may do both
14.7 Where security as a payment reduction of ten per cent (10%) of the value certified in the payment certificate (excluding VAT) has been selected:
14.7.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(B)
14.7.2 The employer shall be entitled to recover expense and loss from the payment reduction in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the payment reduction or portions thereof to the contractor
14.8 Payments made by the guarantor to the employer in terms of the fixed or variable construction guarantee shall not prejudice the rights of the employer or contractor in terms of this agreement
14.9 Should the contractor fail to furnish the security in terms of 14.2, the employer, in his sole discretion and without notification to the contractor, is entitled to change the contractor’s selected form of security to that of a ten per cent (10%) payment reduction of the value certified in the payment certificate (excluding VAT), whereafter 14.7 shall be applicable Fixed:________ Value related:____________ Time related:________ Item
EXECUTION
A15.0 | PREPARATION FOR AND EXECUTION OF THE WORKS
Clause 15.0
Clause 15.1.1 is amended by replacing it with:
Clause 15.1.2 is amended by replacing it with:
The security selected in terms of 14.0
Clause 15.1 is amended by the addition of the following clause:
15.1.4 An acceptable health and safety plan, required in terms of the Occupational Health and Safety Act, (Act 85 of 1993), R84 of February 7, 2014 Construction Regulations that came into effect within twenty-one (21) calendar days of commencement date
Clause 15.2.1 is amended by replacing it with the following clause:
Give the contractor possession of the site within ten (10) working days of the contractor complying with the terms of 15.1.4
Fixed:_______________Value related:_____________Time related:___________
Item
A16 | SITE AND ACCESS
Clause 16.0
Fixed:_______________Value related:_____________Time related:___________
Item
A17.0 | CONTRACT INSTRUCTIONS
Clause 17.0
Clause 17.1.11 is amended by deleting the words “and the appointment of nominated and selected subcontractors
Fixed:_______________Value related:_____________Time related:___________
Item
A18.0 | SETTING OUT OF THE WORKS
Clause 18.0
Fixed:_______________Value related:_____________Time related:___________
Item
A19.0 | TEMPOARARY WORKS AND PLANT
Clause 19.0
Fixed:_______________Value related:_____________Time related:___________
Item
A20.0 | NOMINATED SUBCONTRACTORS
Clause 20.0
Clause 20.1.3 is amended by replacing it with the following:
No clause
Fixed:_______________Value related:_____________Time related:___________
Item
A21.0 | SELECTED SUBCONTRACTORS
Clause 21.0
Clause 21 is amended by replacing it with:
No clause
Fixed:_______________Value related:_____________Time related:___________
Item
A22.0 | EMPLOYER’S DIRECT CONTRACTORS
Clause 22.0
Fixed:_______________Value related:_____________Time related:___________
Item
A23.0 | CONTRACTOR’S DOMESTIC SUBCONTRACTORS
Clause 23.0
Fixed:_______________Value related:_____________Time related:___________
Item
COMPLETION
A24.0 | PRACTICAL COMPLETION
Clause 24.0
Fixed:_______________Value related:_____________Time related:___________
Item
A25.0 | WORKS COMPLETION
Clause 25.0
Fixed:_______________Value related:_____________Time related:___________
Item
A26.0 | FINAL COMPLETION
Clause 26.0
Clause 26.1.2 is amended by inserting
Fixed:_______________Value related:_____________Time related:___________
Item
A27.0 | LATENT DEFECTS LIABILITY PERIOD
Clause 27.0
Fixed:_______________Value related:_____________Time related:___________
Item
A28.0 | SECTIONAL COMPLETION
Clause 28.0
Fixed:_______________Value related:_____________Time related:___________
Item
A29.0 | REVISION OF DATE FOR PRACTICAL COMPLETION
Clause 29.0
Clause 29.2.5 is amended by replacing it with:
No clause
Fixed:_______________Value related:_____________Time related:___________
Item
A30.0 | PENALTY FOR LATE OR NON-COMPLETION
Clause 30.0
Fixed:_______________Value related:_____________Time related:___________
Item
PAYMENT
A31.0 | INTERIM PAYMENT TO THE CONTRACTOR
Clause 31.0
Clause 31.5.2 is amended by replacing “14.7.1” with “14.0”
Clause 31.8 is amended by replacing it with the following two alternative clauses:
Alternative A 31.8(A) Where a security is selected in terms of 14.1; 14.5 or 14.6, the value of the works in terms of 31.4.1 and materials and goods in terms of 31.4.2 shall be certified in full. The value certified shall be subject to the following percentage adjustments: 31.8(A).1 Ninety-five per cent (95%) of such value in interim payment certificates issued up to the date of practical completion 31.8(A).2 Ninety-seven per cent (97%) of such value in interim payment certificates issued on the date of practical completion and up to but excluding the date of final completion 31.8(A).3 Ninety-nine per cent (99%) of such value in interim payment certificates issued on the date of final completion and up to but excluding the final payment certificate in terms of 34.6 31.8(A).4 One hundred per cent (100%) of such value in the final payment certificate in terms of 34.6 except where the amount certified is in favour of the employer. In such an event the payment reduction shall remain at the adjustment level applicable to the final payment certificate
Alternative B 31.8(B) Where security as a payment reduction in terms of 14.7 has been selected, the value of the works in terms of 31.4.1 and materials and goods in terms of 31.4.2 shall be certified in full. The value certified shall be subject to the following percentage adjustments: 31.8(B).1 Ninety per cent (90%) of such value in interim payment certificates issued up to the date of practical completion 31.8(B).2 Ninety-seven per cent (97%) of such value in interim payment certificates issued on the date of practical completion and up to but excluding the date of final completion 31.8(B).3 Ninety-nine per cent (99%) of such value in interim payment certificates issued on the date of final completion and up to but excluding the final payment certificate in terms of 34.6 31.8(B).4 One hundred per cent (100%) of such value in the final payment certificate in terms of 34.6 except where the amount certified is in favour of the employer. In such an event the payment reduction shall remain at the adjustment level applicable to the final payment certificate
Clause 31.12 is amended by deleting the following:
Payment shall be subject to the employer giving the contractor a tax invoice for the amount due
Fixed:_______________Value related:_____________Time related:___________
Item
A32.0 | ADJUSTMENT TO THE CONTRACT VALUE
Clause 32.0
Clauses 32.5.1, 32.5.4 and 32.5.7 are amended by the addition of the following at the end of the sentence:
"due to no fault of the contractor"
Fixed:_______________Value related:_____________Time related:___________
Item
A33.0 | RECOVERY OF EXPENSE AND LOSS
Clause 33.0
Fixed:_______________Value related:_____________Time related:___________
Item
A34.0 | FINAL ACCOUNT AND FINAL PAYMENT
Clause 34.0
Clause 34.1 is amended by removing
Clause 34.2 is amended by inserting
Clause 34.8 is amended by deleting the words “where security as a fixed construction guarantee in terms of 14.4 has been selected or where payment reduction has been applied in terms of 14.7.1”
Clause 34.13 is amended by replacing “seven (7) calendar days” with “twenty-one (21) calendar days” and deleting the words “subject to the employer giving the contractor a tax invoice for the amount due”
Fixed:_______________Value related:_____________Time related:___________
Item
A35.0 | PAYMENT TO OTHER PARTIES
Clause 35.0
Fixed:_______________Value related:_____________Time related:___________
Item
A36.0 | TERMINATION BY EMPLOYER – CONTRACTOR’S DEFAULT
Clause 36.0
Clause 36.1 is amended by the addition of the following clauses
36.1.3 refuses or neglects to comply strictly with any of the conditions of contract
36.1.4 estate being sequestrated, liquidated or surrendered in terms of the insolvency laws in force within the Republic of South Africa
36.1.5 in the judgement of the employer, has engaged in corrupt or fraudulent practices in competing for or in executing the contract
Clause 36.3 is amended by removing the reference to “No clause” and replacing the words “principal agent” with “employer”
Clause 36.0 is amended by the addition of the following clause:
Clause 36.0 is amended by the addition of the following clause:\
36.7 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever
Fixed:_______________Value related:_____________Time related:___________
Item
A37.0 | TERMINATION BY EMPLOYER – LOSS AND DAMAGE
Clause 37.0
Clause 37.3.5 is amended by replacing “ninety (90)” with “one-hundred and twenty (120)”
Clause 37.0 is amended by the addition of the following clause:
37.5 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever
Fixed:_______________Value related:_____________Time related:___________
Item
A38.0 | TERMINATION BY CONTRACTOR – EMPLOYER’S DEFAULT
Clause 38.0
Clause 38.5.4 is amended by replacing “ninety (90)” with “one-hundred and twenty (120)”
Clause 38.0 is amended by the addition of the following clause:
38.7 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever
Fixed:_______________Value related:_____________Time related:___________
Item
A39.0 | TERMINATION – CESSATION OF THE WORKS
Clause 39.0
Clause 39.3.5 is amended by the addition of the following at the end of the sentence:
“within one hundred and twenty (120) working days of completion of such a report”
Fixed:_______________Value related:_____________Time related:___________
Item
DISPUTE
A40.0 | SETTLEMENT OF DISPUTES
Clause 40.0
Clause 40.2.2 is amended by replacing “one (1) year” with “three (3) years”
Clause 40.6 is amended by removing the reference to:
No clause
Clause 40.7.1 is amended by replacing “(10)” with “(15)” and by the addition of the following:
Whether or not mediation resolves the dispute, the parties shall bear their own costs concerning the mediation and equally share the costs of the mediator and related costs
Fixed:_______________Value related:_____________Time related:___________
Item

## SECTION B
SCHEDULE NO 1: |  | PRELIMINARY AND GENERAL (SECTION B)
ITEM | DESCRIPTION |  | AMOUNT
B1.1 | Definitions and interpretation
See also clause A1.0 of Section A for additional and/or amended definitions which shall apply equally to this Section
Fixed:_______________Value related:_____________Time related:___________
Item
B2.0 | DOCUMENTS
B2.1 | Checking of documents
Fixed:_______________Value related:_____________Time related:___________
Item
B2.2 | Provisional bills of quantities
Fixed:_______________Value related:_____________Time related:___________
Item
B2.3 | Availability of construction documentation
Fixed:_______________Value related:_____________Time related:___________
Item
B2.4 | Interests of agents
Fixed:_______________Value related:_____________Time related:___________
Item
B2.5 | Priced documents
Fixed:_______________Value related:_____________Time related:___________
Item
B2.6 | Tender submission
Clause 2.6 is amended by replacing “JBCC Form of Tender” with “The Tender Page 97”
Fixed:_______________Value related:_____________Time related:___________
Item
B3.0 | THE SITE
B3.1 | Defined works area
B3.2 | Geotechnical investigation
Fixed:_______________Value related:_____________Time related:___________
Item
B3.3 | Inspection of the site
Fixed:_______________Value related:_____________Time related:___________
Item
B3.4 | Existing premises occupied
Fixed:_______________Value related:_____________Time related:___________
Item
B3.5 | Previous work – dimensional accuracy
Fixed:_______________Value related:_____________Time related:___________
Item
B3.6 | Previous work – defects
Fixed:_______________Value related:_____________Time related:___________
Item
B3.7 | Services – known
Fixed:_______________Value related:_____________Time related:___________
Item
B3.8 | Services – unknown
Fixed:_______________Value related:_____________Time related:___________
Item
B3.9 | Protection of trees
Fixed:_______________Value related:_____________Time related:___________
Item
B3.9 | Protection of trees
Fixed:_______________Value related:_____________Time related:___________
Item
B3.10 | Articles of value
Fixed:_______________Value related:_____________Time related:___________
Item
B3.11 | Inspection of adjoining properties
Fixed:_______________Value related:_____________Time related:___________
Item
B4. 0 | MANAGEMENT OF CONTRACT
B4.1 | Management of the works
Fixed:_______________Value related:_____________Time related:___________
Item
B4.2 | Programme for the works
Fixed:_______________Value related:_____________Time related:___________
Item
B4.3 | Progress meetings
Fixed:_______________Value related:_____________Time related:___________
Item
B4.4 | Technical meetings
Fixed:_______________Value related:_____________Time related:___________
Item
B4.5 | Labour and plant records
Fixed:_______________Value related:_____________Time related:___________
Item
B5.0 | SAMPLES, SHOP DRAWINGS AND MANUFACTURERS’ INSTRUCTIONS
B5.1 | Samples of materials
Fixed:_______________Value related:_____________Time related:___________
Item
B5.2 | Workmanship samples
Fixed:_______________Value related:_____________Time related:___________
Item
B5.3 | Shop drawings
Fixed:_______________Value related:_____________Time related:___________
Item
B5.4 | Compliance with manufacturers’ instructions
Fixed:_______________Value related:_____________Time related:___________
Item
B6.0 | TEMPORARY WORKS AND PLANT
B6.1 | Deposits and fees
Fixed:_______________Value related:_____________Time related:___________
Item
B6.2 | Enclosure of the works
Fixed:_______________Value related:_____________Time related:___________
Item
B6.3 | Advertising
Fixed:_______________Value related:_____________Time related:___________
Item
B6.4 | Plant, equipment, sheds and offices
Fixed:_______________Value related:_____________Time related:___________
Item
B6.5 | Main notice board
Fixed:_______________Value related:_____________Time related:___________
Item
B6.6 | Subcontractors’ notice board
Fixed:_______________Value related:_____________Time related:___________
Item
B7.0 | TEMPORARY SERVICES
B7.1 | Location
Fixed:_______________Value related:_____________Time related:___________
Item
B7.2 | Water
Fixed:_______________Value related:_____________Time related:___________
Item
B7.3 | Electricity
Fixed:_______________Value related:_____________Time related:___________
Item
B7.4 | Telecommunication facilities
Fixed:_______________Value related:_____________Time related:___________
Item
B7.5 | Ablution facilities
Fixed:_______________Value related:_____________Time related:___________
Item
B8.0 | PRIME COST AMOUNTS
B8.1 | Responsibility for prime cost amounts
Fixed:_______________Value related:_____________Time related:___________
Item
B9.0 | ATTENDANCE ON N/S SUBCONTRACTORS
B9.1 | General attendance
Fixed:_______________Value related:_____________Time related:___________
Item
B9.2 | Special attendance
Fixed:_______________Value related:_____________Time related:___________
Item
B9.3 | Commissioning – fuel, water and electricity
Fixed:_______________Value related:_____________Time related:___________
Item
B10.0 | FINANCIAL ASPECTS
B10.1 | Statutory taxes, duties and levies
Fixed:_______________Value related:_____________Time related:___________
Item
B10.2 | Payment for preliminaries
Fixed:_______________Value related:_____________Time related:___________
Item
B10.3 | Adjustment of preliminaries
Clauses B10.3.1 and B10.3.2 are amended by replacing “within fifteen (15) working days of taking possession of the site” with “when submitting his priced bills of quantities / lump sum document”
Fixed:_______________Value related:_____________Time related:___________
Item
B10.4 | Payment certificate cash flow
Fixed:_______________Value related:_____________Time related:___________
Item
B11.0 | GENERAL
B11.1 | Protection of the works
Fixed:_______________Value related:_____________Time related:___________
Item
B11.2 | Protection / isolation of existing / sectionally occupied works
Fixed:_______________Value related:_____________Time related:___________
Item
B11.3 | Security of the works
Fixed:_______________Value related:_____________Time related:___________
Item
B11.4 | Notice before covering work
Fixed:_______________Value related:_____________Time related:___________
Item
B11.5 | Disturbance
Fixed:_______________Value related:_____________Time related:___________
Item
B11.6 | Environmental disturbance
Fixed:_______________Value related:_____________Time related:___________
Item
B11.7 | Works cleaning and clearing
Fixed:_______________Value related:_____________Time related:___________
Item
B11.8 | Vermin
Fixed:_______________Value related:_____________Time related:___________
Item
B11.9 | Overhand work
Fixed:_______________Value related:_____________Time related:___________
Item
B11.10 | Instruction manuals and guarantees
Fixed:_______________Value related:_____________Time related:___________
Item
B11.11 | As built information
Fixed:_______________Value related:_____________Time related:___________
Item
B11.12 | Tenant installations
Fixed:_______________Value related:_____________Time related:___________
Item
B12.0 | SCHEDULE OF VARIABLES
B12.1 | Schedule of variables
This schedule contains all variables referred to in this document and is divided into pre-tender and post-tender categories. The pre-tender category must be completed in full and included in the tender documents. Both the pre-tender and post-tender categories form part of these Preliminaries
| 12,1,1 | PRE-TENDER INFORMATION
Refer to Contract Data
| 12,1,2 | POST-TENDER INFORMATION
Refer to Contract Data
Fixed:_______________Value related:_____________Time related:___________
Item

## SECTION C
SCHEDULE NO 1: |  | PRELIMINARY AND GENERAL (SECTION C)
ITEM | DESCRIPTION |  | AMOUNT
SECTION C: SPECIFIC PRELIMINARIES
Section C contains specific preliminary items which apply to this contract except where N/A (Not Applicable) appears against an item
C1.0 | CONTRACT DRAWINGS
* Select relevant paragraph and delete whichever is not applicable depending on whether the contract is based on a bills of quantities or lump sum document
* The drawings issued with the tender documents do not comprise the complete set but serve as a guide only for tendering purposes and for indicating the scope of the work to enable the tenderer to acquaint himself with the nature and extent of the works and the manner in which they are to be executed
Should any part of the drawings not be clearly understood by the tenderer he shall, before submitting his tender, obtain clarification in writing from the principal agent
Fixed:_______________Value related:_____________Time related:___________
Item
C2.0 | PREAMBLES
The Specifications shall be read in conjunction with the bills of quantities / lump sum document and be referred to for the full descriptions of work to be done and materials to be used
The speciifications are issued and shall be read in conjunction with the drawings and the bills of quantities / lump sum document
Fixed:_______________Value related:_____________Time related:___________
Item
C3.0 | TRADE NAMES
Wherever a trade name for any product has been described in the bills of quantities / lump sum document, the tenderer’s attention is drawn to the fact that any other product of equal quality may be used subject to the written approval of the principal agent being obtained prior to the closing date for submission of tenders
If prior written approval for an alternative product is not obtained, the product described shall be deemed to have been tendered for
Fixed:_______________Value related:_____________Time related:___________
Item
C4.0 | IMPORTED MATERIALS AND EQUIPMENT
Where imported items are listed in the tender documents, the tenderer shall provide all the information called for, failing which the price of any such item, materials or equipment shall be excluded from currency fluctuations. (refer to Annexure D Imported Content Declaration)
Notwithstanding any provisions elsewhere regarding the adjustment of contract prices, the price of any item, material or equipment listed in terms of this clause shall be excluded from the Contract Price Adjustment Provisions (if applicable)
Fixed:_______________Value related:_____________Time related:___________
Item
C5.0 | OCCUPATIONAL HEALTH AND SAFETY ACT
The contractor shall comply with all the requirements as set out in the Construction Regulations, 2014 issued under the Occupational Health and Safety Act, 1993 (Act No 85 of 1993)
It is required of the contractor to thoroughly study the Health and Safety Specification that must be read together with and is deemed to be incorporated under this Section of the bills of quantities / lump sum document
The contractor must take note that compliance with the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification is compulsory. In the event of partial or total non-compliance, the principal agent, notwithstanding the provisions of clause A31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any progress payment certificate until the contractor provides satisfactory proof of compliance. The contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay of payment
Provision for pricing of the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification is made under this clause and it is explicitly pointed out that all requirements of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained
| 0.1 | Preparartion of Health and Safety Plan. Impleamentation and maintenance of Health and Safety Plan
Fixed:_______________Value related:_____________Time related:___________
Item
| 0.2 | Health and Safety Training. Implementation and maintenance of Training
Fixed:_______________Value related:_____________Time related:___________
Item
| 0.3 | Personal Protective Clothing and equipment. Maintenance of Personal Protective Clothing and Equipment
Fixed:_______________Value related:_____________Time related:___________
Item
| 0.4 | Fences, Signs and Barricades. Maintenance of Fence, Signs and Barricades
Fixed:_______________Value related:_____________Time related:___________
Item
| 0.5 | Establishment of Safety Administration. Implementation and maintenance of Safety Administration
Fixed:_______________Value related:_____________Time related:___________
Item
| 0.6 | Other Health and Safety Fixed-charge Obligations. Other Health and Safety Time-Related Obligations
Fixed:_______________Value related:_____________Time related:___________
Item

## COLLECTION
SCHEDULE NO 1: |  | PRELIMINARIES AND GENERAL
COLLECTION |  |  |  | Page | AMOUNT
Item
SECTION A: JBCC PRINCIPAL BUILDING AGREEMENT
Definitions
A1.0 | Definitions and interpretation |  |  | 1.1-1 | 0
Objective and Preparation
A2.0 | Offer, acceptance and performance |  |  | 1.1-2 | 0
A3.0 | Documents |  |  | 1.1-2 | 0
A4.0 | Design responsibility |  |  | 1.1-2 | 0
A5.0 | Employer’s agents |  |  | 1.1-2 | 0
A6.0 | Contractor's Site representative |  |  | 1.1-2 | 0
A7.0 | Compliance with laws and regulations |  |  | 1.1-3 | 0
A8.0 | Works risk |  |  | 1.1-3 | 0
A9.0 | Indemnities |  |  | 1.1-3 | 0
A10.0 | General insurances |  |  | 1.1-3 | 0
A11.0 | Special insurances |  |  | 1.1-5 | 0
A12.0 | Effecting insurances |  |  | 1.1-5 | 0
A13.0 | Assignment |  |  | 1.1-6
A14.0 | Security |  |  | 1.1-6 | 0
Execution
A15.0 | Preparation for and execution of the works |  |  | 1.1-10 | 0
A16.0 | Site and Access |  |  | 1.1-11 | 0
A17.0 | Contract instructions |  |  | 1.1-11 | 0
A18.0 | Setting out of the works |  |  | 1.1-11 | 0
A19.0 | Temporary Works and Plant |  |  | 1.1-11 | 0
A20.0 | Nominated subcontractors |  |  | 1.1-11 | 0
A21.0 | Selected subcontractors |  |  | 1.1-12 | 0
A22.0 | Employer's direct contractors |  |  | 1.1-12 | 0
A23.0 | Contractor’s domestic subcontractors |  |  | 1.1-12 | 0
Completion
A24.0 | Practical completion |  |  | 1.1-12 | 0
A25.0 | Works completion |  |  | 1.1-12 | 0
A26.0 | Final completion |  |  | 1.1-12 | 0
A27.0 | Latent defects liability period |  |  | 1.1-12 | 0
A28.0 | Sectional completion |  |  | 1.1-13 | 0
A29.0 | Revision of date for practical completion |  |  | 1.1-13 | 0
A30.0 | Penalty for late or non-completion |  |  | 1.1-13 | 0
Payment
A31.0 | Interim payment to the contractor |  |  | 1.1-13 | 0
A32.0 | Adjustment to the contract value |  |  | 1.1-14 | 0
A33.0 | Recovery of expense and loss |  |  | 1.1-14 | 0
A34.0 | Final account and final payment |  |  | 1.1-14 | 0
A35.0 | Payment to other parties |  |  | 1.1-15 | 0
Cancellation
A36.0 | Termination by employer – contractor’s default |  |  | 1.1-15 | 0
A37.0 | Termination by employer – loss and damage |  |  | 1.1-16 | 0
A38.0 | Termination by contractor – employer’s default |  |  | 1.1-16 | 0
A39.0 | Termination – cessation of the works |  |  | 1.1-16 | 0
Dispute
A40.0 | Settlement of disputes |  |  | 1.1-17 | 0
|  |  | Carried forward R |  | 0
SECTION B: JBCC PRELIMINARIES
B1.0 | Definitions and interpretation
B1.1 | Definitions and interpretation |  |  | 1.1-18 | 0
B2.0 | Documents
B2.1 | Checking of documents |  |  | 1.1-18 | 0
B2.2 | Provisional bills of quantities |  |  | 1.1-18 | 0
B2.3 | Availability of construction documentation |  |  | 1.1-18 | 0
B2.4 | Interests of agents |  |  | 1.1-18 | 0
B2.5 | Priced documents |  |  | 1.1-18 | 0
B2.6 | Tender submission |  |  | 1.1-18 | 0
B3.0 | The Site
B3.1 | Defined works area |  |  | 1.1-19
B3.2 | Geotechnical investigation |  |  | 1.1-19 | 0
B3.3 | Inspection of the site |  |  | 1.1-19 | 0
B3.4 | Existing premises occupied |  |  | 1.1-19 | 0
B3.5 | Previous work – dimensional accuracy |  |  | 1.1-19 | 0
B3.6 | Previous work – defects |  |  | 1.1-19 | 0
B3.7 | Services – known |  |  | 1.1-19 | 0
B3.8 | Services – unknown |  |  | 1.1-19 | 0
B3.9 | Protection of trees |  |  | 1.1-19 | 0
B3.10 | Articles of value |  |  | 1.1-20 | 0
B3.11 | Inspection of adjoining properties |  |  | 1.1-20 | 0
B4.0 | Management of contract
B4.1 | Management of the works |  |  | 1.1-20 | 0
B4.2 | Programme for the works |  |  | 1.1-20 | 0
B4.3 | Progress meetings |  |  | 1.1-20 | 0
B4.4 | Technical meetings |  |  | 1.1-20 | 0
B4.5 | Labour and plant records |  |  | 1.1-20 | 0
B5.0 | Samples, shop drawings and manufacturers’ instructions
B5.1 | Samples of materials |  |  | 1.1-20 | 0
B5.2 | Workmanship samples |  |  | 1.1-20 | 0
B5.3 | Shop drawings |  |  | 1.1-21 | 0
B5.4 | Compliance with manufacturers’ instructions |  |  | 1.1-21 | 0
B6.0 | Temporary works and plant
B6.1 | Deposits and fees |  |  | 1.1-21 | 0
B6.2 | Enclosure of the works |  |  | 1.1-21 | 0
B6.3 | Advertising |  |  | 1.1-21 | 0
B6.4 | Plant, equipment, sheds and offices |  |  | 1.1-21 | 0
B6.5 | Main notice board |  |  | 1.1-21 | 0
B6.6 | Subcontractors’ notice board |  |  | 1.1-21 | 0
B7.0 | Temporary services
B7.1 | Location |  |  | 1.1-21 | 0
B7.2 | Water |  |  | 1.1-22 | 0
B7.3 | Electricity |  |  | 1.1-22 | 0
B7.4 | Telecommunication facilities |  |  | 1.1-22 | 0
B7.5 | Ablution facilities |  |  | 1.1-22 | 0
|  |  | Carried forward R |  | 0
B8.0 | Prime cost amounts
B8.1 | Responsibility for prime cost amounts |  |  | 1.1-22 | 0
B9.0 | Attendance on N/S subcontractors
B9.1 | General attendance |  |  | 1.1-22 | 0
B9.2 | Special attendance |  |  | 1.1-22 | 0
B9.3 | Commissioning – fuel, water and electricity |  |  | 1.1-22 | 0
B10 | Financial aspects
B10.1 | Statutory taxes, duties and levies |  |  | 1.1-23 | 0
B10.2 | Payment for preliminaries |  |  | 1.1-23 | 0
B10.3 | Adjustment of preliminaries |  |  | 1.1-23 | 0
B10.4 | Payment certificate cash flow |  |  | 1.1-23 | 0
B11.0 | General
B11.1 | Protection of the works |  |  | 1.1-23 | 0
B11.2 | Protection / isolation of existing / sectionally occupied works |  |  | 1.1-23 | 0
B11.3 | Security of the works |  |  | 1.1-23 | 0
B11.4 | Notice before covering work |  |  | 1.1-23 | 0
B11.5 | Disturbance |  |  | 1.1-24 | 0
B11.7 | Works cleaning and clearing |  |  | 1.1-24 | 0
B11.8 | Vermin |  |  | 1.1-24 | 0
B11.9 | Overhand work |  |  | 1.1-24 | 0
B11.10 | Instruction manuals and guarantees |  |  | 1.1-24 | 0
B11.11 | As built information |  |  | 1.1-24 | 0
B11.12 | Tenant installations |  |  | 1.1-24 | 0
B12.0 | Schedule of Variables
B12.1 | Schedule of variables |  |  | 1.1-25 | 0
|  |  | Carried forward R |  | 0
SECTION C: JBCC PRELIMINARIES
C1.0 | Contract drawings |  |  | 1.1-26 | 0
C2.0 | Preambles |  |  | 1.1-26 | 0
C3.0 | Trade names |  |  | 1.1-26 | 0
C4.0 | Imported materials and equipment |  |  | 1.1-27 | 0
C5.0 | Occupational Health and Safety Act |  |  | 1.1-27 | 0
SECTION 1
PRELIMINARIES
| CARRIED TO FINAL SUMMARY |  |  | R | 0
SUBTOTALS:
Category: Fixed R
Category: Value R
Category: Time R

## SCH 2
SCHEDULE NO 2: |  | STRUCTURAL AND BUILDING RELATED REPAIR WORK: CENTRE FOR BIODIVERSITY CONSERVATION
PAYMENT
REFERS | ITEM |  |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO | [5 empty] | TITY
NOTE: BILL OF QUANTITIES TO BE READ IN CONJUCTION WITH DRAWINGS PROVIDED
| 200 | STRUCTURAL AND BUILDING ROOF A
All final dimensions and designs shall be the responsibility of the contractor, who is to ensure that the truss design accommodates the retrofitted solar panels and existing mechanical ducting. The contractor shall carry out and verify the design in full compliance with the manufacturer’s specifications and applicable design parameters. Tenderers are advised that the truss descriptions provided are indicative of overall size only and do not constitute the final design. The contractor is to undertake the complete structural design of the trusses, which must be reviewed and monitored on site by a registered ITC-certified person for compliance during fabrication and installation.
The selection of the structural design approach and the construction methodology, including the decision to fabricate trusses off-site or to assemble them in-situ within the roof void, shall remain at the discretion of the contractor. In cases where in-situ fabrication is adopted, the contractor shall ensure that all structural connection designs are undertaken in accordance with relevant SANS standards, ITC guidelines, and manufacturer’s requirements, with due consideration of load paths, joint capacities, tolerances, and installation sequencing. The full cost implications of connection detailing, fabrication processes, and erection methodology shall be incorporated into the tender pricing, with no provisional allowances.
Prices to include all temporary bracing and suports while construction is carried out.
| 201 | BA : ROOFS
BA.01 | 201.01 | Install cladding and sheeting:
|  | .01 | 0,6 mm "Kliplok" or similar approved sheeting roll formed in continuous lengths from certified steel, all to carry a minimum 20 year guarantee for both the material and paintwork fixed to timber purlins or rails complete with flashing:
|  |  | 0.01 | Roof covering with pitches exceeding 15°, fixed to timber or steel purlins |  | m2 | 120 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  |  | 0.02 | Carefully refix existing “Kliplok” profile roof sheeting and timber purlins previously stockpiled; include for replacing any damaged fixings with new matching components, ensuring proper alignment, watertight joints, and installation in accordance with manufacturer’s specifications. |  | m2 | 600 |  | 0
|  |  | 0.03 | Supply and installation of "Kliplok" concealed fix roof sheet clips (KL 65) or similar approved with screws and all ancillary items. |  | No | 350 |  | 0
BA.03 | 201.02 | Carefully remove existing cladding and sheeting
|  | .01 | Carefully remove existing “Kliplok” profile sheet metal roof covering and associated timber purlins; stack and stockpile materials neatly on site for re-use. |  |  | m2 | 600 |  | 0
BA.06 | 201.03 | Supply and install sundry items, etc.:
|  | .01 | Galvanised sheet iron flashings with CHROMADEK or similar approved silicone polyester finish to one side of sundry items to Kliplok or concealed fixing roof sheeting complete as detailed in BA 03.01:
|  |  | .01 | Ridge flashing |  | m | 85 |  | 0
BA.08 | 201.04 | Install existing rainwater goods:
|  | .01 | Reinstall existing box gutters and downpipes:
|  |  | 0.01 | Eaves box gutters |  | m | 100 |  | 0
|  |  | 0.02 | 80mm dia downpipe |  | m | 70 |  | 0
BA.09 | 201.05 | Carefully remove existing rainwater goods:
|  | .01 | Eaves box gutters |  |  | m | 100 |  | 0
|  | .02 | Down pipes |  |  | m | 70 |  | 0
BB.01 | 202 | BB: CARPENTRY AND JOINERY
| 202.01 | Timber roof truss (refer to DWG_0546-02):
|  | .01 | Truss engineering design and preparation of detail design drawings and cut lists (including all inspections). |  |  | Sum | 1 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  | .02 | Design, manufacture and deliver to site new multi-ply truss for the replacement of existing prefabricated timber roof trusses including all bolts, washers, screws and ancillary items.
|  |  | .01 | Supply new prefrabricated 2 ply "HD1" trusses with bolts, washers and screws. |  | No | 4 |  | 0
|  |  | .02 | Supply new prefrabricated 3 ply "HG1" trusses with bolts, washers and screws. |  | No | 2 |  | 0
|  | .03 | Design, manufacture and deliver to site new prefabricated replica timber roof truss for the plying of existing timber trusses, to create a multi-ply truss construction including all bolts, washers, screws and ancillary items.
|  |  | .01 | Supply new "HG2" replica prefabricated timber truss with bolts, washers and screws. |  | No | 2 |  | 0
|  |  | .02 | Supply new "HG3" replica prefabricated timber truss with bolts, washers and screws. |  | No | 2 |  | 0
| 202.01 cont. |  | .03 | Supply new "HG4" replica prefabricated timber truss with bolts, washers and screws. |  | No | 2 |  | 0
|  |  | .04 | Supply new "G2" replica prefabricated timber truss with bolts, washers and screws. |  | No | 14 |  | 0
|  |  | .05 | Supply new "T1" replica prefabricated timber truss with bolts, washers and screws. |  | No | 12 |  | 0
|  | .04 | Supply full length single timber members for plying/scabbing of "T1" truss top chords, with timber fixing screws at 300 mm c/c or similar approved:
|  |  | .01 | 114 x 38 mm Grade S7 timber scabs (6m lengths). |  | No | 17 |  | 0
|  | .05 | Supply full length single timber members for plying/scabbing of truss top chords of "T2" and "T3" trusses, timber fixing screws at 300 mm c/c or similar approved:
|  |  | .01 | 114 x 38 mm Grade S7 timber scabs (6m lengths). |  | No | 20 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  |  | .02 | "T2" and "T3" trusses at the lift shaft to be repaired and configured as per details provided. |  | No | 4 |  | 0
|  | .06 | Supply full length single timber member for plying/scabbing of "R7" eaves rafters, with timber fixing screws at 300 mm c/c or similar approved:
|  |  | .01 | 152x 38 mm Grade S7 timber scab, H3 treated and shaped to match existing members (2.5m lengths). |  | No | 19 |  | 0
|  | .07 | Supply full length timber member for plying/scabbing of "R2" and"R6" eaves rafters, with timber fixing screws at 300 mm c/c or similar approved:
|  |  | .01 | 152x 38 mm Grade S7 timber scabs H3 treated and shaped to match existing members, to be fixed on each side of "R2" and "R6" member (2.5m lengths). |  | No | 8 |  | 0
|  | .08 | Allow for the provision, erection, use, dismantling and transportation of scaffolding for access control on building perimeter, up to a three story height for duration of work including certification, delivery, collection and dismantling. |  |  | Sum | 1 |  | 0
|  | .09 | Allow for the provision of mobile crane services, including delivery and collection for the duration of the works.
|  |  | .01 | Crane with a lifting capacity of 4000 kg and a lifting height of 16.65m. |  | Sum | 1 |  | 0
| 202.02 | Timber connections:
|  | .01 | Supply steel bracket for the fixing of existing eaves rafter members ("R1" to "R7") to the existing perimeter steel channel as per DWG_0546-03 and 0546-06:
|  |  | .01 | Supply 50 x 50 x 5 mm L-section (150 mm long) with bolts and washers. |  | No | 150 |  | 0
|  | .02 | Supply steel bracket for the fixing of existing eaves rafter members ("R1" to "R7") to the existing laminated eaves beam as per DWG_0546-03 and 0546-06:
|  |  | .01 | Supply 50 x 50 x 5 mm mild steel equal angle bracket (150 mm long) with bolts and washers. |  | No | 150 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  | .03 | Supply steel bracket for the fixing of existing laminated eaves beams to heel ends of the existing "T1", "T2", "T3" and "G2" trusses and girders as per DWG_0546-03 and 0546-06:
|  |  | .01 | Supply 50 x 50 x 5 mm mild steel equal angle bracket (100 mm long) with bolts and washers. |  | No | 300 |  | 0
|  | .04 | Supply truss fixing brackets at truss hipsets:
|  |  | .01 | 45 degree truss hanger with nails. |  | No | 16 |  | 0
|  |  | .02 | 90 degree truss hanger with nails. |  | No | 14 |  | 0
|  |  | .03 | Heavy duty H45V8P2 Cleat/ T-bracket or similar approved with bolts and washers as per DWG_0546-03 and 0546-06. |  | No | 4 |  | 0
|  | .05 | Supply prepunched tri-strap bracing for truss tie down detail at perimeter walls as per DWG_0546-03:
|  |  | .01 | Double tri-strap bracing with timber and masonry nails or similar approved. |  | No | 150 |  | 0
|  | .06 | Supply prepunched tri-strap bracing for eaves beam tie down detail at perimeter walls as per DWG_0546-03:
|  |  | .01 | Single tri-strap bracing with timber and masonry nails or similar approved. |  | No | 150 |  | 0
| 202.03 | Truss bracing:
|  | .01 | Supply timber bracing members for the bracing of bottom chords, top chords and webs with timber fixing screws or similar approved:
|  |  | .01 | 76 x 38 grade S5 bracing. |  | m | 600 |  | 0
|  |  | .02 | 152 x 38 grade S5 T-bracing at truss "HG3". |  | m | 10 |  | 0
| 202.04 | Purlin connections:
|  | .01 | Supply swing fix wire fixing for purlins. |  |  | No | 700 |  | 0
| 202.05 | Bolts, Fasteners, etc:
|  | .01 | 65mm Mitek eCo Self drilling screws or similar approved. |  |  | No | 100 |  | 0
|  | .02 | 45mm Wafer head class 3 timber fix screw T17 class or similar approved. |  |  | No | 1000 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  | .03 | TX40 160 x 8mm timber fixing screw. |  |  | No | 100 |  | 0
|  | .04 | TX40 180 x 8mm timber fixing screw. |  |  | No | 150 |  | 0
|  | .05 | TX40 240 x 8mm timber fixing screw. |  |  | No | 250 |  | 0
|  | .06 | Truss fixings to girders:
|  |  | .01 | Supply permfix nails or similar approved for tie beam brackets (truss connections to girders). |  | No | 90 |  | 0
|  |  | .02 | Supply hurricane clips with permfix nails or similar approved (truss connections to girders at top chord level). |  | No | 90 |  | 0
| 202.06 | Labour:
|  | .01 | Labour for erection of timber roof structure truss members including fixing, fixing in position of girders, trusses, beams, rafters, hips, valleys, bracing, battens, wallplates, cleates, tri-strap bracing and proper securing of all items as required by fixing details and engineer. |  |  | m2 | 900 |  | 0
BB.02 | 202.07 | Ceilings:
|  | .01 | Install:
|  |  | .01 | Sisalation 420 heavy industrial grade aluminium foil over rafters at approximatley 760mm centes including straining wires |  | m2 | 300 |  | 0
|  |  | .02 | Mild steel galvanised cold formed steel angle ceiling suspension members (25×25 mm × 2.0 mm thick) 1000mm long, fixed vertically between timber truss bottom chords to support ceiling brandering/grid. |  | No | 200 |  | 0
|  | .02 | 6,4mm "Rhino" or similar approved gypsum plasterboard with 50mm cover strips of mesh scrim nailed over joints and the whole finished with 6mm minimum cretestone gypsum skim plaster or similar approved, trowelled to smooth polished surface:
|  |  | .01 | Ceilings fixed to and including 38 x 38mm sawn softwood brandering at 400mm centres fixed to timber trusses |  | m2 | 300 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  | .03 | 6mm 'Nutec' or similar approved fibre cement ceiling fixed with 32 x 2.5mm galvanised serrated nails at 150mm centres in one direction with painted H- profile jointed strip:
|  |  | .01 | Ceilings fixed to and including 38 x 38mm sawn softwood brandering at 400mm centres fixed to timber trusses |  | m2 | 260 |  | 0
BB.04 | 202.08 | Alterations and repairs to existing structures:
|  | .01 | Carefully remove:
|  |  | .01 | Remove existing rafter members from "HD1", "HG1" and "J1" to "J7" timber trusses in hipset. |  | m | 220 |  | 0
|  |  | .02 | External ceiling board including brandering. |  | m2 | 260 |  | 0
|  |  | .03 | Internal ceiling board cut in neat sections including brandering and suspension system, including main and cross members, necessary hangers, grids, etc. hung from trusses |  | m2 | 300 |  | 0
|  |  | .04 | Carefully remove ceiling suspension system galvanised mild steel hangers, hanger system, brandering/main and cross members, suspended from timber trusses and to be stored on site. |  | No | 380 |  | 0
|  | .02 | Re-install:
|  |  | .01 | Truss rafters removed In hipsets |  | m | 220 |  | 0
|  |  | .02 | Ceiling suspension system comprising galvanised mild steel hangers (minimum 2.0 mm thick × 25 mm wide), hanger system, brandering/main and cross members, and all necessary fixings, securely suspended from timber trusses. |  | No | 380 |  | 0
|  | .03 | Allow a provisional sum for the removal, servicing, and reinstallation of all fresh air supply and extraction ducting, associated grills, and the existing Dunham Bush cassette AC unit at the CBC Building to facilitate roof truss works, including the removal and refitting of ducting, grills, and AC unit after inspection, resealing, adjustment, and securing of all duct runs, joints, insulation, and flex connections, and the commissioning of the AC system with full operational checks. COC certificates are to be required upon completion of all works. Refer to drawing DWG_0546-04 for HVAC details. |  |  | SUM | - |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
| 203 | BUILDING WORK
BD.04 |  | .01 | Items measured by area:
|  |  | .01 | Install brickwork to close up openings at newly installed trusses |  | m2 | 10 |  | 0
|  |  | .02 | Internal cement plaster to walls |  | m2 | 10 |  | 0
|  |  | .03 | External cement plaster to walls |  | m2 | 10 |  | 0
BD.05 |  | .02 | Break out/hack up/demolish and remove:
|  |  | .01 | Break out and form openings through external brickwork for new timber trusses and members, make good plaster on both sides with 20MPa concrete thresholds with steel trowelled finish (paintwork specified elsewhere) |  | m2 | 10 |  | 0
| 204 | BJ: PAINT WORK
BJ.02 | 204.01 | Paint to previously painted surfaces:
|  | .01 | Plaster surfaces:
|  |  | .01 | Prepare and repair, brush to remove all loose contaminants, rinse and apply suitable bonding liquid one coat approved alkali resistant primer to bare substrate areas and two coats approved pure acrylic paint on existing painted surfaces:
|  |  |  | .01 | External walls | m2 | 800 |  | 0
|  | .02 | Fibre cement surfaces:
|  |  | .01 | Prepare surfaces and remove all loose material, apply one coat plaster primer and two coats polyurethane enamel paint:
|  |  |  | .01 | External ceilings | m2 | 260 |  | 0
|  | .03 | On plasterboard surfaces:
|  |  | .01 | Prepare surfaces and remove all loose material, apply two coats alkali resistant paint:
|  |  |  | .01 | Internal ceilings | m2 | 300 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
|  | .04 | On steel surfaces:
|  |  | .01 | Prepare surfaces and remove all loose material, apply high gloss enamel paint.
|  |  |  | .01 | Steel section columns and beams. | m2 | 450 | 0 | 0
|  | .05 | On timber surfaces:
|  |  | .01 | Prepare surfaces and remove all loose material sand down (as per manufacturers specification), apply three coats of Dulux Woodguard Rubol or similar approved quality matt/ clear gloss wood preservative on eaves members
|  |  |  | .01 | Timber eaves members. | m2 | 25 |  | 0
BC.02 | 204.02 | Waterproofing
|  | .01 | On pitched sheeted roof:
|  |  | .01 | Pure acrylic emulsion waterproofing paint with polyester membrane or glass-fibre tissue waterproofing sealing system. |  | m2 | 15 |  | 0
TOTAL SCHEDULE NO 2: CARRIED TO SUMMARY: REPAIR WORK
0
Note on S312: Author: Fibre cement
Note on W312: Author: Fibre cement
Note on AA312: Author: Fibre cement

## SCH 3
SCHEDULE NO 3: |  | STRUCTURAL AND BUILDING RELATED REPAIR WORK: KIRSTENBOSCH RESEARCH CENTRE
PAYMENT
REFERS | ITEM |  |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO | [5 empty] | TITY
NOTE: BILL OF QUANTITIES TO BE READ IN CONJUCTION WITH DRAWINGS PROVIDED
| 300 | BC: WATERPROOFING BASEMENTS, ROOFS, BALCONIES, ETC.
|  | .01 | 4mm Thick "Derbigum SP4" or similar approved waterproofing membrane including laps, turn-ups, turn-downs, etc and preparing and priming concrete including screeded surfaces laid in accordance with the manufacturers instruction
|  |  | .01 | On flat roofs |  | m2 | 40 |  | 0
| 301 | BUILDING WORK
BD.04 |  | .01 | Break out/hack up/demolish and remove:
|  |  | .01 | Core drill 80mm diameter hole into parapet brick walls including pilot holes if necessary and scanning for services prior to core drilling |  | No. | 3 |  | 0
|  |  | .02 | Remove and dispose of existing fullbore including fittings, hack and prepare surrounding concrete locally 30 mm deep × 30 mm wide to form square recess, clean and prepare surface for reinstatement. |  | No. | 3 |  | 0
|  |  | .03 | Sheet waterproofing on flat roof including screed not exceeding 50mm thick average and prepare surface for new screed |  | m2 | 40 |  | 0
|  | .02 | Items measured by area:
|  |  | .01 | Internal cement plaster to walls |  | m2 | 1 |  | 0
BA.08 | 301.01 | Install existing rainwater goods:
|  | .01 | Install uPVC items including all fixings, jointing, brackets, shoes, outlets, and connections to stormwater system.
|  |  | 0.01 | 150mm dia gutters. |  | m | 25 |  | 0
|  |  | 0.02 | 80mm dia downpipe with offsets, shoes and brackets |  | m | 30 |  | 0
|  |  | 0.03 | Extra over 90mm elbow |  | No. | 6 |  | 0
BK.03 | 301.02 | Recast slab patch
|  | .01 | Supply infill concrete to penetration and recess, including bonding agent to joint surfaces, finish flush with existing slab, and apply cementitious screed to match existing roof falls and levels. |  |  | No. | 3 |  | 0
| Carried forward | [7 empty] | 0
| Brought forward | [7 empty] | 0
BK.06 | 301.03 | Concrete Repairs
|  | .01 | Crack Injection
|  |  | .01 | Preparation of cracks for crack injection to beams and slab. |  | m | 3 |  | 0
|  |  | .02 | Crack injection with epoxy resin (Sikadur 52 or similar approved) to beams. |  | litre | 2 |  | 0
|  |  | .03 | Site and core tests |  | Prov Sum |  |  | 10000
|  |  | .04 | Charge required by Contractor on Item 03 above. |  | % | 10000 |  | 0
|  | .02 | External Bonding of Carbon Fibre Plates
|  |  | .01 | Preparation of concrete surfaces for plate bonding |  | m2 | 1 |  | 0
|  |  | .02 | Adhesive: Sikadur - 30 (or similar approved to suit carbon fibre repair system) |  | m2 | 1 |  | 0
|  |  | .03 | Plates: Sika CarboDur S512 (or similar approved carbon fibre repair system) |  | m | 3 |  | 0
|  |  | .04 | Apply bonding agent (Sika Armatec - 110 Epocem or similar approved) to repaired beam soffit. |  | m2 | 1 |  | 0
|  | .03 | Spall Repairs
|  |  | .01 | Preparation for and repair of spalled and damaged concrete using cementitious repair mortar:
|  |  |  | .01 | Sika Grout 212 (or similar approved) | litre | 8 |  | 0
|  |  |  | .02 | Sika MonoTOP 615 HB (or similar approved) | litre | 2 |  | 0
BC.02 | 301.04 | Screed woodfloated on concrete.
|  | .01 | Average 100mm thick on floors with upper surface to falls and currents
|  |  | .01 | On flat roofs |  | m2 | 40 |  | 0
| Carried forward | [7 empty] | 10000
| Brought forward | [7 empty] | 10000
| 302 | BJ: PAINT WORK
BJ.02 | 302.01 | Paint to previously painted surfaces:
|  | .01 | Plaster surfaces:
|  |  | .01 | On plastered walls: Prepare and repair as specified, brush to remove all loose contaminants, rinse and apply suitable bonding liquid one coat approved alkali resistant primer to bare substrate areas and 2 coats interior quality emulsion paint with smooth sheen approval on existing surfaces:
|  |  |  | .01 | Internal walls | m2 | 70 |  | 0
|  | .02 | On "Rhino" board surfaces:
|  |  | .01 | Prepare surfaces and remove all loose material, apply two coats alkali resistant paint:
|  |  |  | .01 | Internal ceilings | m2 | 35 |  | 0
|  | .03 | On smooth concrete surfaces:Two coats interior quality PVA emulsion paint on work in bad condition:
|  |  | .01 | Internal ceilings |  | m2 | 80 |  | 0
TOTAL SCHEDULE NO 3: CARRIED TO SUMMARY: REPAIR WORK
10000
Note on S300: Author: Fibre cement
Note on W300: Author: Fibre cement
Note on AA300: Author: Fibre cement

## SCH 4
SCHEDULE NO 4: |  | STRUCTURAL AND BUILDING RELATED REPAIR WORK: HARRY MOLTENO LIBRARY
PAYMENT
REFERS | ITEM |  |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO | [5 empty] | TITY
NOTE: BILL OF QUANTITIES TO BE READ IN CONJUCTION WITH DRAWINGS PROVIDED.
| 400 | STRUCTURAL AND BUILDING
| 401 | CONCRETE AND MASONRY REPAIRS
BK06.02.04 | 401.01 | Application of waterproofing to concrete and masonry elements
|  | .01 | Preparation for and application of waterproofing coating
|  |  | .01 | Site Modified Sika Cemflex or similar approved waterproofing agent to brick walls. |  | m2 | 30 |  | 0
BA.08 | 402 | RAINWATER DISPOSAL
| 402.01 | uPVC or similar approved:
|  | .01 | 150mm eaves gutters including all fittings |  |  | m | 20 |  | 0
|  | .02 | 80mm dia downpipe including all fittings |  |  | m | 2 |  | 0
|  | .03 | Extra over for shoe |  |  | No | 1 |  | 0
|  | .04 | Clean existing eaves gutters |  |  | m | 50 |  | 0
BJ.02 | 403 | PAINTWORK
| 403.01 | Paint to previously painted surfaces
|  | .01 | Apply acrylic paint to interior walls of Harry Molteno Library, including crack bridging primer |  |  | m2 | 30 |  | 0
|  | .02 | Apply acrylic paint to exterior walls of Harry Molteno Library. |  |  | m2 | 30 |  | 0
| 404 | JOINTS
|  | .01 | Expansion joints with 10mm closed cell expanded polyethylene between concrete and brick surfaces |  |  | m | 15 |  | 0
| 405 | JOINT SEALANT
|  | .01 | Two-part grey polysulphide sealing compound, applied to joints complete with backing cord, bond breaker tape, primer and all ancillary materials necessary to form a durable, flexible, and watertight seal at all joints. |  |  | m | 15 |  | 0
Carried forward
0
Brought forward
0
BD.06 | 406 | PLASTERING
| 406.01 | Repair of cracks in masonry walls
|  | .01 | Crack width from 0.5mm to 1.0mm |  |  | m | 20 |  | 0
|  | .02 | Crack width from 1.0mm to 5.0mm |  |  | m | 10 |  | 0
| 406.02 | Remove plaster and replaster:
|  | .01 | Brick walls (Internal) |  |  | m2 | 20 |  | 0
|  | .02 | Brick walls (Enternal) |  |  | m2 | 20 |  | 0
| 407 | GLAZING
| 407.01 | Sealing of windows
|  | .01 | Seal windows in aluminium frames using silicone sealant |  |  | m | 50 |  | 0
| 408 | REMOVAL OF EXISTING WORK
| 408.01 | Breaking down and removing brickwork etc.
|  | .01 | Various widths of brickwork for installation of 50mm diameter weep hole pipe (measured elsewhere). |  |  | m3 | 10 |  | 0
| 409 | MASONRY
BD.04 |  | .01 | Items measured by area:
|  |  | .01 | Install brickwork to close up openings. |  | m2 | 4 |  | 0
|  | .02 | Drill holes into brick wall including pilot holes if necessary and scanning for services prior to drilling.
|  |  | .01 | Not exceeding 50mm diameter through 270mm cavity brick wall |  | No. | 10 |  | 0
|  | .03 | 50mm Diameter HDPE pipe fixed through core drilled walls (300mm long). |  |  | No. | 10 |  | 0
TOTAL SCHEDULE 4: CARRIED FORWARD TO SUMMARY
0

## SCH 5
SCHEDULE NO 5: |  | CIVIL AND STORMWATER RELATED WORK: HARRY MOLTENO LIBRARY
PAYMENT
REFERS | ITEM |  |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO | [5 empty] | TITY
| 500 | CIVIL AND STORMWATER
SANS 1200 D | 501 | BULK EXCAVATION, FILLING etc
| 501.01 | Excavation in earth over sloping site
8.3.1 |  | .01 | Remove topsoil to a nominal depth of 150mm, stockpile and maintain. |  |  | m3 | 20 |  | 0
8.3.2(a) |  | .02 | Excavate in all materials, stockpile on site and backfill. |  |  | m3 | 30 |  | 0
|  | .03 | Provisional sum for landscaping |  |  | Prov Sum |  |  | 10000
|  |  | .01 | Charge required by Contractor on Item 03 above. |  | % | 10000 |  | 0
8.3.2(b) | 501.02 | Extra over bulk excavation in earth for excavation in:
|  | .01 | Soft rock |  |  | m3 | 2 |  | 0
|  | .02 | Hard rock |  |  | m3 | 1 |  | 0
8.3.2(c) | 501.03 | Extra over all excavations for carting away
|  | .01 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor |  |  | m3 | 20 |  | 0
| 502 | EXISTING SERVICES
8.3.8.1 |  | 01 | Excavate by hand in soft material to expose / locate existing services |  |  | m3 | 20 |  | 0
|  | 02 | Provisional sum for repair of existing services, including leak detection |  |  | Prov Sum |  |  | 25000
|  |  | .01 | Charge required by Contractor on Item 02 above. |  | % | 25000 |  | 0
SANS 1200 DB | 503 | EARTHWORKS (PIPE TRENCHES)
| 503.01 | Excavate in all materials for trenches, backfill, compact and dispose of surplus / unsuitable material, for pipes:
|  | .01 | UPVC Stormwater pipes exceeding 125mm diameter but not more than 700mm diameter on Class C Bedding
|  |  | .01 | Depth exceeding 0m but not more than 1m |  | m3 | 15 |  | 0
|  |  | .02 | Depth exceeding 1m but not more than 2m |  | m3 | 2 |  | 0
Carried forward
35000
Brought forward
35000
SANS 1200MK | 504 | KERBING AND CHANNELING
8.2.1 | 504.01 | Concrete Kerbing (Precast)
|  | .01 | BK2 Barrier Kerb |  |  | m | 3 |  | 0
| 504.02 | Concrete Kerbing and Channeling combined
|  | .01 | Barrier Kerb (BK2) and Channeling (C2) |  |  | m | 3 |  | 0
SANS 1200 LB | 505 | BEDDING
8.2.2 | 505.01 | Supply of Bedding by Importation:
8.2.2.3 |  | .01 | From commercial sources:
|  |  | .01 | Selected granular material (bedding) for stormwater pipes |  | m3 | 10 |  | 0
SANS 1200 LE | 506 | STORMWATER DRAINAGE
8.2.8 | 506.01 | Supply and install Manholes, Catchpits, etc
|  | .01 | Construct new brick manhole (900 mm x 900 mm x 900 mm deep) complete with ductile iron grid and frame (450 mm x 450 mm Type F by Saint Gobain or similar approved) |  |  | No | 1 |  | 0
|  | .02 | Demolish and rebuild existing 900 mm x 900 mm manhole. |  |  | No | 1 |  | 0
|  | .03 | Tie into existing manhole |  |  | No | 2 |  | 0
8.2.1 | 506.02 | Supply and lay UPVC pipe culverts
|  | .01 | 150mm nominal diameter UPVC pipe on Class C bedding |  |  | m | 10 |  | 0
CB.02.01 | 506.03 | Cleaning of prefabricated culvert and inlet and outlet structures (average depth of material removed not more than 100mm):
|  | .01 | Prefabricated concrete pipes and portal culverts with maximum cross sectional dimension of:
|  |  | .01 | Up to and including 500mm |  | m | 75 |  | 0
|  |  | .02 | 501mm to 750mm |  | m | 20 |  | 0
Carried forward
35000
Brought forward
35000
CB.02.04 | 506.04 | Visual inspection of underground culvert network |  |  |  | m | 100 |  | 0
CB.03.07 | 506.05 | Demolition and removal of damaged existing structures:
|  | .01 | Plain concrete: Drainage Channels |  |  | m | 20 |  | 0
SANS 1200 MJ | 507 | SEGMENTED PAVING
8.2.2 | 507.01 | Construction of Paving complete
|  | .01 | 50mm Thick clay paver, bond shape pattern to match existing |  |  | m2 | 5 |  | 0
TOTAL SCHEDULE 5: CARRIED FORWARD TO SUMMARY
35000

## SCH 6
SCHEDULE NO 6: |  | PLUMBING AND DRAINAGE RELATED WORK: KIRSTENBOSCH RESEARCH CENTRE AND CENTRE FOR BIODIVERSITY CONSERVATION
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
CENTRE FOR BIODIVERSITY CONSERVATION (CBC)
PAA.06.03 | 600 | PLUMBING AND DRAINAGE
| 601 | DETAIL WORK
| 601.01 | Isolation, stripping, dismantling and removal of existing brassware, sanitaryware & piping:
|  | .01 | 15mm Diameter pillar taps |  | No | 2 |  | 0
|  | .02 | 15mm Diameter pipe connections to pillar taps |  | No | 24 |  | 0
|  | .03 | 15mm - 42mm Diameter copper pipes |  | m | 6 |  | 0
|  | .04 | 15mm - 42mm Diameter HDPE/PVC pipes |  | m | 5 |  | 0
PAA.06.05 | 601.02 | Supply and installation of sanitaryware and brassware to replace the following items with equal or similar approved fittings by licensed Plumber:
|  | .01 | Isolating valve, wall mounted (replace existing with an equal or similar approved fitting) |  | No | 24 |  | 0
|  | .02 | Hot and cold water taps (replace existing with an equal or similar approved fitting) |  | No | 2 |  | 0
|  | .03 | Sealing around sanitary fixtures |  | m | 10 |  | 0
|  | .04 | Flushmaster system
|  |  | .01 | Cobra toilet flush valve body only CP 20mm FJ2-000 including cobra spare toilet flush pipe bent CP FJT1-1 with cobra flush junior pipe connector C-FJV1-7 or similar approved system to match existing bathroom systems | No. | 7 |  | 0
PAA.06.06 | 602 | EXCAVATIONS FOR DOMESTIC WATER SUPPLY:
|  | .01 | Pipe trench excavations, bedding and backfilling:
|  |  | .01 | Excavate in all materials for pipe trenches to depth of 1100mm x 600mm wide | m3 | 5 |  | 0
|  |  | .02 | Supply and installation of river sand pipe bedding | m3 | 1 |  | 0
|  |  | .03 | Backfilling and compacting to 93% modified AASHTO density with selected material | m | 4 |  | 0
Carried forward
0
Brought forward
0
| 603 | DOMESTIC WATER SUPPLY:
PAA.06.07 | 603.01 | Supply and installation of domestic water pipe installation by licensed Plumber:
|  | .01 | Supply and install HDPE PE100 PN12 pressure pipe
|  |  | .01 | 32mm Diameter including fittings | m | 100 |  | 0
|  | .02 | Allow for disconnecting of existing water line |  | Sum | 1 |  | 0
PAA.06.07 | 603.02 | Supply and installation of domestic water pipe installation by licensed Plumber:
PAA.03.03 |  | .01 | Copper pipe Class 2, SABS 460 with capillary soldered type joints for cold water piping installed on surface in service ducts, roofs, against walls and soffits and in voids inclusive of bracketing:
|  |  | .01 | 15mm Diameter including fittings | m | 27 |  | 0
|  |  | .02 | 22mm Diameter including fittings | m | 20 |  | 0
|  |  | .03 | 28mm Diameter including fittings | m | 30 |  | 0
| 603.03 | Extra over clay copper pipes for solvent welded fittings:
|  | .01 | 15mm Diameter fittings |  | No | 5 |  | 0
|  | .02 | 32mm x 15mm x 32mm TEE |  | No | 12 |  | 0
|  | .03 | 15mm Ball Valve |  | No | 15 |  | 0
|  | .04 | 22mm Diameter fittings |  | No | 2 |  | 0
|  | .05 | 22mm Ball Valve |  | No | 3 |  | 0
|  | .06 | 28mm Diameter fittings |  | No | 2 |  | 0
|  | .07 | 28mm Ball Valve |  | No | 3 |  | 0
|  | .08 | 32mm Non-Return Valve |  | No | 1 |  | 0
|  | .09 | 32mm Ball Valve |  | No | 3 |  | 0
|  | .10 | 32mm In-Line Strainer |  | No | 1 |  | 0
Carried forward
0
Brought forward
0
BE.06.02.03 | 604 | CONCRETE FILLING
|  | .01 | 15MPa / 19mm Unreinforced concrete:
|  |  | .01 | Infilling to cavity of hollow walls in pockets behind sanitary fittings | m3 | 10 |  | 0
SANS1200 DR |  | .02 | Extra over all excavations for carting away
|  |  | .01 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 5 |  | 0
| 605 | TESTING
| 605.01 | Testing newly installed water supply line by licensed specialist:
|  | .01 | Allow for testing of new water line |  | Sum | 1 |  | 10000
|  |  | .01 | Charge required by Contractor on Item 01. | % | 10000 |  | 0
| 606 | DEMOLITION WORK
| 606.01 | Alterations to existing structures:
BD05 |  | .01 | Hack off and remove wall coverings
|  |  | .01 | Damaged ceramic wall tiles including grout, mortar, etc. and prepare to receive new. | m2 | 26 |  | 0
|  |  | .02 | Hack off and remove damaged plaster on brick walls in patches and prepare to receive new | m2 | 26 |  | 0
BD05 |  | .02 | Suspended ceiling
|  |  | .01 | Take down, remove and store one side suspended ceiling panels for re-use later. | m2 | 15 |  | 0
|  |  | .02 | Re-install stored suspended ceiling panels. | m2 | 15 |  | 0
Carried forward
10000
Brought forward
10000
BD05 |  | .03 | Breaking out for and forming plain openings through brick walls, including supporting brickwork above opening, making good cement plaster on both sides and into reveals with steel trowelled finish (making good paintwork elsewhere):
|  |  | .01 | Opening 1000 x 1000mm high through half brick wall | m2 | 24 |  | 0
|  |  | .02 | Opening 1000 x 1000mm high through one brick wall | m2 | 2 |  | 0
BD05 |  | .04 | Breaking down and removing brickwork and walling materials:
|  |  | .01 | Mass brickwork | m3 | 3 |  | 0
|  |  | .02 | Half brick walls | m2 | 3 |  | 0
|  |  | .03 | One brick walls | m2 | 3 |  | 0
BD05 |  | .05 | Core drill holes into half brick walls including pilot holes if necessary.
|  |  | .01 | 30mm Diameter | No | 3 |  | 0
|  |  | .02 | 50mm Diameter | No | 3 |  | 0
|  | .06 | Core drill holes into one brick skin including pilot holes if necessary.
|  |  | .01 | 30mm Diameter | No | 3 |  | 0
|  |  | .02 | 50mm Diameter | No | 6 |  | 0
BD05 | 607 | MASONRY
| 607.01 | Brickwork of NFP bricks in class II mortar:
|  | .01 | Building of Brickwork in Class II mortar
|  |  | .01 | Half brick walls | m2 | 24 |  | 0
|  |  | .02 | One brick walls | m2 | 2 |  | 0
BD05 | 608 | PLASTERING
| 608.01 | Cement plaster on brickwork:
|  | .01 | Internal cement plaster to walls |  | m2 | 26 |  | 0
|  | .02 | Repair and seal:
|  |  | .01 | Crack(> 1mm < 5mm) in plastered wall | m | 30 |  | 0
Carried forward
10000
Brought forward
10000
| 609 | TILING
| 609.01 | Wall tiling and finishes:
BD05 |  | .01 | Allow a PC amount of R 300,00/m2 for supply only of porcelain wall tiles fixed with adhesive to bedding (bedding elsewhere) and flush pointed with tinted waterproof jointing compound:
|  |  | .01 | On walls | m2 | 26 |  | 0
BJ06.03 | 610 | PAINTWORK
| 610.01 | Paint to previously painted surfaces:
|  | .01 | On plastered walls: Prepare and repair as specified, brush to remove all loose contaminants, rinse and apply suitable bonding liquid one coat approved alkali resistant primer to bare substrate areas and 2 coats interior quality emulsion paint with smooth sheen approval on existing surfaces:
|  |  | .01 | Walls (internal) | m2 | 250 |  | 0
|  | .02 | On smooth concrete: Two coats interior quality PVA emulsion paint on work in bad condition:
|  |  | .01 | On ceilings and beams including ceilings | m2 | 67 |  | 0
| 611 | SCAFFOLDING
|  | .01 | Supply, erect and dismantle independent type scaffolding 10m length x 1.3m width and 10m high for 4 months to be used for the installation of the water supply pipework at the CBC Building. |  | Sum | 1 |  | 0
KIRSTENBOSCH RESEARCH CENTRE (KRC)
| 609 | TESTING
| 611.01 | Testing water supply line by licensed specialist:
|  | 01 | Allow for testing of water line |  | Sum |  |  | 10000
|  |  | .01 | Charge required by Contractor on Item 01. | % | 10000 |  | 0
TOTAL SCHEDULE 6: CARRIED FORWARD TO SUMMARY
20000

## SCH 7
SCHEDULE NO 7: |  | FIRE FIGHTING EQUIPMENT: KIRSTENBOSCH RESEARCH CENTRE AND CENTRE FOR BIODIVERSITY CONSERVATION
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
CENTRE FOR BIODIVERSITY CONSERVATION (CBC)
| 700 | WATER SUPPLY FOR FIRE RETICULATION
PAA.06.03 | 701 | DETAIL WORK
| 701.01 | Isolation, stripping, dismantling and removal of existing fittings & piping:
|  | .01 | 22mm - 42mm Diameter copper pipes |  | m | 25 |  | 0
|  | .02 | 22mm - 42mm Diameter copper pipe fittings |  | No | 40 |  | 0
|  | .03 | 42mm Diameter HDPE/PVC pipe fittings |  | m | 6 |  | 0
| 702 | SUPPLY AND INSTALL
PAA.09 | 702.01 | Supply and installation of fire water reticulation pipework by licensed Plumber:
PAA.03.03 |  | .01 | Copper pipe Class 2, SABS 460 with capillary soldered type joints for cold water piping installed on surface in service ducts, roofs, against walls and soffits and in voids inclusive of bracketing:
|  |  | .01 | 22mm Diameter | m | 35 |  | 0
|  |  | .02 | 32mm Diameter | m | 40 |  | 0
PAA.09 | 702.02 | Supply and installation of fire water reticulation pipework by licensed Plumber:
|  | .01 | HDPE PE100 PN12 pressure pipe
|  |  | .01 | 32mm Diameter including fittings | m | 50 |  | 0
PAA.03.03 | 702.03 | Extra over class II copper pipes for solvent welded fittings:
|  | .01 | 22mm Diameter Bend |  | No | 30 |  | 0
|  | .02 | 22mm x 22mm Diameter Tee |  | No | 14 |  | 0
|  | .03 | 32mm x 22mm Reducer |  | No | 4 |  | 0
|  | .04 | 32mm Diameter Bend |  | No | 8 |  | 0
|  | .05 | 32mm x 32mm Diameter Tee |  | No | 8 |  | 0
Carried forward
0
Brought forward
0
| 703 | TESTING
| 703.01 | Testing newly installed pressure gauges by licensed specialist:
|  | .01 | Allow for testing and calibrating Pressure Gauges |  | Sum | 1 |  | 10000
|  |  | .01 | Charge required by Contractor on Item 01 above. | % | 10000 |  | 0
KIRSTENBOSCH RESEARCH CENTRE (KRC)
| 704 | TESTING
| 704.01 | Testing pressure gauges by licensed specialist:
|  | .01 | Allow for testing and calibrating Pressure Gauges |  | Sum | 1 |  | 10000
|  |  | .01 | Charge required by Contractor on Item 01 above. | % | 10000 |  | 0
TOTAL SCHEDULE 7: CARRIED FORWARD TO SUMMARY
20000

## Sum CM
TENDER NO: | G567/2025
SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE
REQUEST FOR BIDS FOR THE APPOINTMENT OF A CONTRACTOR FOR THE REPAIRS TO THE EXISTING TIMBER ROOF TRUSSES AND WET SERVICES AT THE KIRSTENBOSCH CENTRE FOR BIODIVERSITY CONSERVATION BUILDING INCLUDING ASSOCIATED CIVIL AND BUILDING WORKS AT THE HARRY MOLTENO LIBRARY WITHIN KIRSTENBOSCH NATIONAL BOTANICAL GARDENS: COMPLETION CONTRACT
SUMMARY OF SCHEDULE OF QUANTITIES: REPAIR WORK
SCHEDULE NO 1: | PRELIMINARY AND GENERAL | R | 0
SCHEDULE NO 2: | STRUCTURAL AND BUILDING RELATED REPAIR WORK: CENTRE FOR BIODIVERSITY CONSERVATION | R | 0
SCHEDULE NO 3: | STRUCTURAL AND BUILDING RELATED REPAIR WORK: KIRSTENBOSCH RESEARCH CENTRE | R | 10000
SCHEDULE NO 4: | STRUCTURAL AND BUILDING RELATED REPAIR WORK: HARRY MOLTENO LIBRARY | R | 0
SCHEDULE NO 5: | CIVIL AND STORMWATER RELATED WORK: HARRY MOLTENO LIBRARY | R | 35000
SCHEDULE NO 6: | PLUMBING AND DRAINAGE RELATED WORK: KIRSTENBOSCH RESEARCH CENTRE AND CENTRE FOR BIODIVERSITY CONSERVATION | R | 20000
SCHEDULE NO 7: | FIRE FIGHTING EQUIPMENT: KIRSTENBOSCH RESEARCH CENTRE AND CENTRE FOR BIODIVERSITY CONSERVATION | R | 20000
CONTINGENCY |  | R | 150000
TOTAL OF SCHEDULE OF QUANTITIES - REPAIR WORK |  | R | 235000
CARRIED TO CALCULATION OF TENDER SUM

## Sum
TENDER NO: | G567/2025
SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE
REQUEST FOR BIDS FOR THE APPOINTMENT OF A CONTRACTOR FOR THE REPAIRS TO THE EXISTING TIMBER ROOF TRUSSES AND WET SERVICES AT THE KIRSTENBOSCH CENTRE FOR BIODIVERSITY CONSERVATION BUILDING INCLUDING ASSOCIATED CIVIL AND BUILDING WORKS AT THE HARRY MOLTENO LIBRARY WITHIN KIRSTENBOSCH NATIONAL BOTANICAL GARDENS: COMPLETION CONTRACT
CALCULATION OF TENDER SUM
TOTAL OF SCHEDULE OF QUANTITIES - REPAIR WORK |  | R | 235000
SUBTOTAL |  | R | 235000
VALUE-ADDED TAX (VAT)
The tenderer shall add 15% of the subtotal for value-added tax |  | R | 35250
TENDER SUM CARRIED TO FORM OF OFFER AND ACCEPTANCE |  | R | 270250
Electrical PDR
Mechanical PDR
Civil PDR
TOTAL
Estimate

## Sheet1 (hidden)
Length | 30 | m
| QTY per m length of wall | Total
Excavation | 8 | 240 | m3
Concrete | 1 | 30 | m3
Steel | 60 | 1.8 | t
Formwork
Narrow | 0.6 | 18 | m2
Vertical | 2 | 60 | m2